## GW6 Table 6
T | N/S | R | E/W | Section | 1/4 1/4 | Missing N or E | Owner or Name | Aquifers | Depth of Well (ft) | Altitude (ft) | Below Land Surface (ft) | Date | Year Completed | Surface Diameter of Wells | Method of lift | Use of Water | Remarks | Questions/ Comments
16 | S | 32 | E | 27.441 |  |  | Buffalo Oil Co. | To | 265 | 4300 | 200 |  |  | 8.625 |  | In | Perforations 194-254 feet.
16 | S | 32 | E | 35.4 |  |  | Drew Taylor | To | 246M | 4265 | 160 |  |  | 8.25 | Te | In, D | Taylor well 2. Northwest well 3. EY 60-80 gpm.
17 | S | 32 | E | 2.433 |  |  | MCRA | To | 200 | 4240 | 60 | 1948 |  | 7 | Te | In, D | Well 6. EY 50 gpm.
17 | S | 32 | E | 2.434 |  |  | MCRA | To | 192 | 4240 | 60 | 1950-06-01 | 1948 | 7 | Te | In, D | Well 5. EY 50 gpm.
17 | S | 32 | E | 2.443 |  |  | MCRA | To | 190 |  |  |  |  | 7 | Te | In, D | Well 7. EY 50 gpm.
17 | S | 32 | E | 3.14 |  |  | Buffalo Oil Co. | To | [7 empty] | In | Buffalo-Taylor well 3. Chemical analysis in Table 8.
17 | S | 32 | E | 3.320a |  |  | Buffalo Oil Co. | To |  | 4250 | 175.6 | 1954-07-21 |  | 6 | N | N | Buffalo-Taylor well 2. Nearby well pumping.
17 | S | 32 | E | 4.442 |  |  | W. Taylor | Qal |  | 4180 | 82.9 | 1954-06-03 |  | 6 | N | N
17 | S | 32 | E | 11.231 |  |  | MCRA | To | 139 | 4180 |  |  | 1947 | 7 | Te | In, D | Well 4.
17 | S | 32 | E | 11.233 |  |  | MCRA | To | 140 | 4200 | 70 | 1947-09-20 |  | 8 | Li | In, D | Well 2. EY 9 gpm
17 | S | 32 | E | 11.411 |  |  | MCRA | To | 200 | 4170 | 70 | 1946-06-15 |  | 8 | Te | In, D | Well 1. EY 90 gpm
17 | S | 32 | E | 11.411a |  |  | MCRA | To | 130 |  | 70 | 1947-09-23 |  | 8 | Li | In, D | Well 3. EY 50 gpm
17 | S | 33 | E | 13.341 |  |  | Potash Co. of America | To | 252M | 4124 | 149.7 | 1953-11-20 | 1952 | 6 | N | O
17 | S | 33 | E | 18.322 |  |  | Kewanee Oil Co. | To | 220 | 4230 |  |  |  | 10.75 | Te | In, D | Two wells. Cheminal analysis in Table 8.
17 | S | 33 | E | 26.422 |  |  | Phillips Oil Co. | To |  | 4125 | 161.2 | 1953-11-20 | 1950 | 8 | N | In, O
17 | S | 33 | E | 28.11 |  |  |  | To | 241M | 4185 | 198 | 1954-05-11 |  | 7 | N | N
17 | S | 33 | E | 30.124 |  |  | Walter Williams | Qal |  | 4045 | 70 | 1954-07-29 |  | 7 | Lw | S | PR
18 | S | 33 | E | 14.111 |  |  |  | Qal | 40M | 3965 | 35.8 | 1954-06-03 |  | 5 | N | N
18 | S | 33 | E | 19.142 |  |  |  | Tr |  | 3820 | >140 | 1958-12-09 |  | 4 | Lw | S
18 | S | 33 | E | 34.133 |  |  |  | Tr | 200M | 3760 | 177.4 | 1958-12-09 |  | 8.5 | N | N
19 | S | 32 | E | 8.2 |  |  |  | Tr |  | 3650 | 365.3 | 1958-12-09 |  | 7.5 | Lw | S | Chemical analysis in Table 8.
19 | S | 32 | E | 36.1 |  |  | W. M. Snyder | Tr | 485 | 3565 |  |  |  |  | Li | D, S
19 | S | 33 | E | 5.213 |  |  |  | Tr |  | 3710 | >299 | 1958-12-09 |  |  | Lw | S
19 | S | 33 | E | 26.244 |  |  | Mark Smith | Qal | 101 | 3600 | 92.9 | 1954-07-01 |  |  | Lw | D, S
19 | S | 34 | E | 9.114 |  |  | Scharbauer Cattle Co. | Tr | 33 | 3790 | 28.6 | 1954-06-03 |  | 6 | Lw | S | MWP
19 | S | 34 | E | 31.131 |  |  | Clark Scharbauer | Qal |  | 3625 | 65.8 | 1954-07-01 |  | 6 | Lw | S | Chemical analysis in Table 8.
19 | S | 35 | E | 5.121 |  |  | Gene Dalmont | To | 88 | 3890 | 50 | 1954-07-28 |  | 8 | Ti | I | MWP
19 | S | 35 | E | 5.234 |  |  | Jules Smith | To | 90 | 3860 | 35 |  |  |  | Lw | D, S
19 | S | 35 | E | 10.113 |  |  | N. T. Roberts | To | 36 | 3860 | 19.9 | 1945-07-28 |  | 6 | Lw | S
19 | S | 35 | E | 12.444 |  |  |  | Qal |  | 3740 | 34.2 | 1954-07-28 |  | 3ft | Lw | S | EY 5 gpm.
19 | S | 35 | E | 17.122 |  |  | J. D. Roberts | Qal | 50 | 3835 | 29.9 | 1954-07-28 |  | 3*3ft | Lw | D, S
19 | S | 35 | E | 22.334 |  |  |  | Qal |  | 3740 | 23.5 | 1954-07-28 |  | 8 | Lw | N | Dug 0-30 ft; Drilled 30-50 ft.
19 | S | 35 | E | 24.121 |  |  |  | Qal |  | 3735 | 28.6 | 1953-11-16 |  | 6ft | N | N
19 | S | 35 | E | 25.424 |  |  |  | Qal |  | 3675 | 22.6 | 1953-11-16 |  |  | N | N | Uncased shothole.
19 | S | 35 | E | 25.434 |  |  |  | Qal |  | 3660 | 22.8 | 1953-11-16 |  | 6 | Lw | S
19 | S | 36 | E | 5.233 |  |  | Tom Green | To | 60 | 3815 | 52.3 | 1954-07-28 |  |  | Lw | D, S
19 | S | 36 | E | 19.313 |  |  |  | Qal | 44.6M | 3685 | 18.6 | 1953-11-16 |  |  | N | N | Uncased shothole.
19 | S | 36 | E | 20.111 |  |  | Tom Green | Qal |  | 3695 | 25.7 | 1954-07-28 |  |  | Lw | S | EY 10 gpm. PR
19 | S | 36 | E | 25.123 |  |  |  | To | 43M | 3680 | 16 | 1954-03-18 |  | 6 | N | N | Northwest well of six. Chemical analysis in table 8.
19 | S | 36 | E | 26.224 |  |  | J. E. Weir | Qal | 12.7M | 3650 | 6.7 | 1954-05-07 |  | 4*5ft | N | N | At Monument Spring
19 | S | 36 | E | 28.422 |  |  | Mrs. Abi Hall | To | 52M | 3720 | 36.6 | 1954-03-18 |  | 7 | N | N
19 | S | 36 | E | 28.441 |  |  | Mrs. Abi Hall | To | 27M | 3680 | 22.7 | 1954-03-18 |  | 6 | N | N
19 | S | 36 | E | 32.11 |  |  | S. P. Jordan | Qal | 32 | 3645 | 19 | 1929-11-22 |  |  |  |  | Chemical analysis in table 8.
19 | S | 36 | E | 32.324 |  |  |  | Qal | 30 | 3630 | 27.2 | 1954-07-28 |  | 4*4ft | Lw | N
19 | S | 37 | E | 4.11 |  |  | V. Linam | To | 29 | 3680 | 21 | 1929-09-19 |  |  |  |  | Chemical analysis in table 8.
19 | S | 37 | E | 18.111 |  |  | Amerada Oil Co. | To | 134 | 3705 | 35 | 9//1947 | 1947 | 10.75 | Ti | D | Monument District Camp. WBZ 67-108 ft, 112-125 ft. EY 385 gpm.
19 | S | 37 | E | 18.331 |  |  | EPNG | To |  | 3710 | 51.9 | 1954-03-18 |  | 10 | N | N
19 | S | 37 | E | 20.242 |  |  | Humble Oil Co. |  | 80 | 3660 | Dry |  | 1937 |  | N | N | Plugged and Abandoned
19 | S | 37 | E | 21.132 |  |  | Humble Oil Co. | To | 67 | 3635 |  |  | 1937 |  |  |  | State "D" well 2. EY 30 gpm
19 | S | 37 | E | 25.422 |  |  |  | To |  | 3600 | 40 | 1954-04-06 |  |  | Lw | S
19 | S | 37 | E | 29.333 |  |  |  | Qal |  | 3595 | 13.3 | 1954-07-28 |  | 7 | Lw | D | MWP
19 | S | 37 | E | 29.344 |  |  | Hobbs School district | Qal | 30± |  | 21.5 | 1960-03-23 |  | 8 | Te | P
19 | S | 37 | E | 29.344a |  |  | Hobbs School district | Qal | 30± |  |  |  |  | 6 | Te | P | Chemical analysis in table 8.
19 | S | 37 | E | 30.113 |  |  | Continental Oil Co. | Qal | 60 | 3660 |  |  |  |  | Te | D | Pumps dry in Summer.
20 | S | 32 | E | 1.322 |  |  | W. M. Snyder | Qal | 30 | 3510 | 21.8 | 1954-07-01 |  | 6 | Li | S | Water not potable.
20 | S | 32 | E | 18.233 |  |  | Freeport Sulfer Co. | Tr | 400 | 3450 | 89.2 | 1954-03-24 | 1954 | 8 | Li | In | WBZ 215-243 ft.
20 | S | 32 | E | 27.144 |  |  | Joel Frey | Qal | 25 | 3545 | 12.3 | 1954-06-11 |  |  | Lw | N
20 | S | 32 | E | 30.142 |  |  |  | Qal |  | 3530 | 9.9 | 1954-06-11 |  | 8.625 | N | N | Located in sink.
20 | S | 32 | E | 36.214 |  |  | Mrs. Bingham | Qal | 60 | 3588 | 46.6 | 1955-06-06 | 1950 | 7.25 | Lw | D | West well of three.
20 | S | 33 | E | 15.221 |  |  |  | Tr |  | 3570 | 336.1 | 1955-04-20 |  | 4 | Li | N
20 | S | 33 | E | 24.122 |  |  | D. C. Berry | Tr | 700± | 3630 | 300± |  |  | 10 | Lw | S
20 | S | 34 | E | 17.334 |  |  | Mark Smith | Tr | 200 | 3635 | 140 | 1954-07-01 | 1940 | 10 | Lw | S | MWP
20 | S | 34 | E | 22.223 |  |  | D. C. Berry | Tr | 235 | 3655 |  |  |  | 10 | Lw | S
20 | S | 35 | E | 1.221 |  |  | J. L. Wood | Qal | 35 | 3655 | 24.5 | 1953-11-16 |  | 4*4ft | N | O
20 | S | 35 | E | 31.113 |  |  | Leo Sims | To | 85 | 3740 | 68.4 | 1954-06-25 |  | 6 | Lw | S | PR
20 | S | 35 | E | 33.433 |  |  | Leo Sims | To | 135 | 3700 | 94.1 | 1954-06-25 |  | 7 | Lw | S | MWP
20 | S | 35 | E | 35.333 |  |  | Leo Sims | To | 105 | 3690 | 88.9 | 1954-04-15 |  |  | Lw | D, S | MWP Southeast well of two.
20 | S | 36 | E | 1.412 |  |  | Amerada Oil Co. | Qal | 72M | 3565 | 33.1 | 1954-03-30 |  | 7 | N | N
20 | S | 36 | E | 5.321 |  |  |  | Qal |  | 3635 | 28.3 | 1953-11-16 |  | 6 | Lw | S
20 | S | 36 | E | 12.141 |  |  |  | Qal | 40±M | 3550 | 29.5 | 1954-03-25 |  |  | Lw | S
20 | S | 36 | E | 12.222 |  |  | Sunray Oil Co. | Qal | 56 | 3560 | 29 | 1954-03-30 |  | 7 | Lw | L | Water not potable.
20 | S | 36 | E | 15.222 |  |  | Continental Oil Co. | Tr | 700 | 3575 |  |  |  |  | Li | D
20 | S | 36 | E | 15.421 |  |  | H. S. Record | Qal | 50 | 3575 | 35.7 | 1954-03-30 | 1938 | 8.5 | Lw | S | Water not potable. MWP. Chemical analysis in table 8.
20 | S | 36 | E | 24.423 |  |  |  | Qal | 50±M | 3540 | 36.4 | 1954-03-25 |  | 7 | Lw | In | Water used to soak wooden tanks.
20 | S | 36 | E | 25.312 |  |  | Stanolind Oil and Gas Co. | Tr | 225 | 3550 | 117.3 | 1954-03-25 |  | 6 | Lw | D
20 | S | 36 | E | 26.244 |  |  | Amerada Oil Co. | Tr | 265 | 3555 |  |  |  | 7.5 | Li | In | Water used for oil well drilling.
20 | S | 36 | E | 32.112 |  |  | Leo Sims | Tr | 612 | 3640 | 300 | 1954-04-15 |  |  | Lw | S
20 | S | 36 | E | 35.244 |  |  | Humble Oil Co. | Tr | 230 | 3550 |  |  | 1938 |  |  | In | Fereral Fopeano well 2. EY 18 gpm.
20 | S | 27 | E | 3.341 |  |  |  | Qal |  | 3560 | 19.5 | 1954-04-01 |  | 7.5 | Lw | S | Water not potable.
20 | S | 37 | E | 4.111 |  |  | Jim Cooper | Qal | 40 | 3560 |  |  |  |  | Je | L | Chemical analysis in Table 8.
20 | S | 37 | E | 4.222 |  |  | Nolan and Lane | Qal | 45 | 3555 | 31.4 | 1954-04-02 | 1940 | 6 | Lw | D | Chemical analysis in Table 8.
2 | S | 37 | E | 4.314 |  |  |  | Qal | 48M | 3550 | 32.8 | 1954-04-02 |  | 8 | N | N
20 | S | 37 | E | 4.341 |  |  | Humble Oil Co. | Qal | 106 | 3550 |  |  | 1935 |  |  |  | Plugged and abandoned
20 | S | 37 | E | 4.444 |  |  |  | Qal | 30±M | 3560 | 23.5 | 1954-04-01 |  | 8 | N | N
20 | S | 37 | E | 5.333 |  |  | Amerada Oil Co. | Qal | 75 | 3555 |  |  | 1954 | 7 | Ti | In | WBZ35-65 feet.
20 | S | 37 | E | 7.133 |  |  |  | Qal |  | 3555 | 27.1 | 1954-03-29 |  | 8.5 | N | N
20 | S | 37 | E | 7.241 |  |  |  | Qal | 28.5M | 3550 | 26.4 | 1954-03-29 |  | 8.5 | N | N | About 70 feet northwest of windmill
20 | S | 37 | E | 7.434 |  |  |  | Qal |  | 3540 | 25.2 | 1954-03-30 |  | 8.5 | Lw | S | MWP
20 | S | 37 | E | 8.321 |  |  | Amerada Oil Co. | Qal | 86 | 3550 | 30 | 1954-01-23 | 1954 | 7 | Ti | In | Reportedly had no measureable drawdown at 50 gpm.
20 | S | 37 | E | 8.424 |  |  | Tidewater Oil Co. | Qal | 62 | 3545 | 25.9 | 1954-03-22 |  |  | Li | D | EY less than 1 gpm.
20 | S | 37 | E | 9.11 |  |  | W. H. Laughlin | Qal | 53 | 3558 | 34 | 1953-11-16 |  | 4*6ft | N | O
20 | S | 37 | E | 9.331 |  |  | Skelley Oil Co. | Qal |  | 3545 | 18 | 1954-03-22 |  | 7 | N | N
20 | S | 37 | E | 13.321 |  |  | Earl Kornegay | Qal(?) | 78M | 3545 | 75.7 | 1954-04-02 |  |  | Lw | S
20 | S | 37 | E | 16.144 |  |  |  | Qal | 36M | 3525 | 13.2 | 1953-02-08 |  | 6 | N | N
20 | S | 37 | E | 17.131 |  |  |  | Qal |  | 3540 | 24.8 | 1954-04-01 |  | 7.5 | Lw | N
20 | S | 37 | E | 20.431 |  |  |  | Qal | 40 | 3510 | 24.1 | 1954-03-26 |  | 12 | Lw | S | PR
20 | S | 37 | E | 21.4 |  |  |  | Qal |  | 3.5 | 43 | 1954-03-26 |  | 7 | N | N
20 | S | 37 | E | 28.122 |  |  | Gulf Oil Corp. | Qal | 60 | 3500 | 29.3 | 1954-03-26 |  | 7 | N | N
20 | S | 37 | E | 28.244 |  |  |  | Qal | 42±M | 3490 | 37.4 | 1954-03-26 |  | 6 | Lw | S | PR
20 | S | 37 | E | 29.111 |  |  | Mid-Continent Petroleum Co. | Qal |  | 3520 | 43.8 | 1954-03-25 |  | 7 | N | N
20 | S | 37 | E | 31.144 |  |  | Humble Oil Co. | Qal | 144 | 3600 | [6 empty] | WBZ grey sand, 60-98 feet.
20 | S | 37 | E | 31.211 |  |  | Humble Oil Co. | Qal | 125 | 3540 | Dry | [5 empty] | Penetrated red beds at 40 feet.
20 | S | 37 | E | 35.441 |  |  | Continental Oil Co. | Qal | 63M | 3480 | 53.4 | 1954-03-23 |  | 12 | N | N
20 | S | 37 | E | 36.33 |  |  | Continental Oil Co. | Qal | 120 | [5 empty] | Te | In, D | One of Two wells Supplying pump station for lease houses.
20 | S | 38 | E | 6.143 |  |  |  | To |  | 3575 | 45.9 | 1954-04-06 |  |  | Lw | S | PR
20 | S | 38 | E | 7.222 |  |  | William Walker | To(?) | 112 |  |  |  |  | 24 | Ti | I
20 | S | 38 | E | 7.411 |  |  | A. E. Galloway | To(?) | 125 | [5 empty] | Ti | I
20 | S | 38 | E | 8.231 |  |  | City of Eunice | Qal |  | 3570 |  |  |  |  | Te | P | West well of two. EY 600 gpm.
20 | S | 38 | E | 8.232 |  |  | City of Eunice | Qal |  | 3570 |  |  |  |  | Te | P | East well of two.
20 | S | 38 | E | 8.311 |  |  | A. E. Galloway | Qal | 125 | 3570 | 64.1 | 1954-04-02 |  |  | Ti | I
20 | S | 38 | E | 9.124 |  |  |  | Qal | 40±M | 3570 | 35.2 | 1954-04-02 |  |  | Lw | S
20 | S | 38 | E | 11.414 |  |  |  | To | 33M | 3565 | 30.7 | 1953-12-09 |  | 3.5 | N | N
20 | S | 38 | E | 12.244 |  |  |  | To |  | 3565 | 43.7 | 1953-12-07 |  | 6.5 | N | N
20 | S | 38 | E | 16.133 |  |  | Earl Kornegay | Qal |  | 3560 | 50 | 1954-03-22 |  |  | Lw | S
20 | S | 38 | E | 17.133 |  |  | Amerada Oil Co. | Qal | 120 | 3565 |  |  | 1951 | 7 | Ti | In
20 | S | 38 | E | 17.141 |  |  | Earl Kornegay | Qal | 105±M | 3555 | 59.3 | 1954-03-22 |  | 7 | N | N | EY 40 gpm.
20 | S | 38 | E | 17.142 |  |  | Earl Kornegay | Qal | 96M | 3555 | 57.2 | 1954-03-22 |  |  | N | N
20 | S | 38 | E | 17.333 |  |  | Amerada Oil Co. | Qal | 116 |  |  |  |  | 7 | Ti | In | EY 35 gpm.
20 | S | 38 | E | 17.334 |  |  | Amerada Oil Co. | Qal | 168 | 3550 | 72.8 | 1954-03-22 |  |  | N | N
20 | S | 38 | E | 18.242 |  |  | Amerada Oil Co. | Qal | 124 | 3565 | 50 | 3//1952 |  | 7 | Je | D | EY 17 gpm.
20 | S | 38 | E | 19.32 |  |  | Continental Oil Co. | Qal | 115 | 3545 | 78.8 | 1954-04-02 |  | 8 | Le | D | Chemical analysis in Table 8.
20 | S | 38 | E | 31.341 |  |  |  | Qal | 70±M | 3490 | 66.7 | 1954-03-23 |  | 6 | N | N
20 | S | 39 | E | 7.133 |  |  |  | To |  | 3565 | 43.6 | 1953-12-07 |  | 7.5 | N | N
20 | S | 39 | E | 18.344 |  |  | Earl Kornegay | To | 60±M | 3540 | 46.2 | 1953-12-09 |  |  | N | N | Located northwest of windmill.
21 | S | 33 | E | 2.231 |  |  | The Texas Co. | Tr | 1150 | 3810 |  |  |  |  | Li | D | Chemical analysis in table 8.
21 | S | 33 | E | 2.422 |  |  | D. C. Berry | To | 120 | 3805 | 107.2 | 1954-06-28 |  |  | Lw | D | Chemical analysis in table 8.
21 | S | 33 | E | 2.442 |  |  | D. C. Berry | To |  | 3800 | 72.9 | 1954-06-28 |  | 10 | Lw | S | Located on west side of sink and west of earthen tank.
21 | S | 33 | E | 2.442a |  |  | D. C. Berry | To | [6 empty] | Lw | D, S | Located on east side of earthen tank. Chemical analysis in table 8.
21 | S | 33 | E | 18.112 |  |  | D. C. Berry | To |  | 3900 | 143 | 1954-06-21 |  |  | Lw | S
21 | S | 33 | E | 28.124 |  |  | San Simon Ranch | Tr | 224 | 3690 | 179.5 | 1954-06-30 |  | 7.5 | N | N | "Standard" well.
21 | S | 34 | E | 8.422 |  |  | San Simon Ranch | To | 120 | 3705 | 105.8 | 1954-06-30 |  |  | Lw | S
21 | S | 34 | E | 13.324 |  |  | Wilson Oil Co. | Tr | 335 | 3655 | 200 | 1943 | 1943 |  | Li | D
21 | S | 34 | E | 23.223 |  |  | Wilson Oil Co. | To | 220 | 3660 | 150 | 1945 |  |  | Li | In, D
21 | S | 34 | E | 24.222 |  |  | Mid-Continent Petroleum Co. | Tr(?) | 125 | 3655 |  |  |  |  | Li | D
21 | S | 34 | E | 33.233 |  |  | San Simon Ranch | To | 80M | 3665 | 67 | 1955-06-06 |  | 7.25 | N | N | "Christmas" well.
21 | S | 35 | E | 1.122 |  |  | Amerada Oil Co. | Tr | 312 | 3550 | 175 | 1954-06-07 | 1954 | 7 | Li | In | EY 9pgm.
21 | S | 35 | E | 7.211 |  |  | Wilson Oil Co. | Tr | 430 | 3700 | 340 | 1940(?) | 1940 |  | Li | D | One of two water wells at Wilson Camp.
21 | S | 35 | E | 14.111 |  |  | San Simon Ranch | Tr | 250 | 3580 | 147.3 | 1955-06-07 |  | 6 | Lw | S | "Scharbauer" well
21 | S | 35 | E | 24.223 |  |  | San Simon Ranch | Tr |  | 3620 | 205.7 | 1954-04-14 |  |  | Lw | S
21 | S | 35 | E | 27.321 |  |  |  | To |  | 3615 | 21.8 | 1958-12-08 |  |  | N | N
21 | S | 35 | E | 27.321a |  |  |  | To |  | 3620 |  |  |  |  | Lw | S | Chemical analysis in table 8.
21 | S | 36 | E | 30.411 |  |  | San Simon Ranch | To | 58M | 3630 | 35.6 | 1953-11-25 |  | 7.5 | Lw | S
21 | S | 36 | E | 9.222 |  |  | W. L. Van Noy | Tr | 447 | 3605 | <350 |  |  | 8 | Li | P | EY 6 gpm. Public supply for Oil Center. Chemical analysis in table 8.
21 | S | 36 | E | 10.112 |  |  | Humble Oil Co. | Tr | 495 | [5 empty] | N | N | WBZ sand, 385-395 feet.
21 | S | 36 | E | 19.222 |  |  | Pacific-Western Oil Co. | To(?) | 230M | 3630 | 216 | 1954-01-07 |  | 8 | N | N
21 | S | 36 | E | 23.233 |  |  | Frontier Country Club | To | 200 | 3555 | 139 | 1955-04-22 | 1955 | 8.625 |  |  | Unfinished well. Recently Bailed.
21 | S | 36 | E | 28.243 |  |  |  | To | 197M | 3585 | 174.5 | 1954-01-15 |  | 6.75 | N | N
21 | S | 36 | E | 29.144 |  |  | Humble Oil Co. | To(?) | 305 | 3630 |  |  | 1935 |  | N | N | WBZ sand, 225-305 feet.
21 | s | 36 | E | 33.223 |  |  |  | To | 215±M | 3590 | 205.5 | 1953-11-12 |  | 6.5 | N | N
21 | S | 36 | E | 36.242 |  |  | W. M. Snyder | To |  | 3505 | 113.3 | 1954-01-15 |  | 6 | Lw | S | MWP
21 | S | 37 | E | 6.244 |  |  |  | To |  | 3495 | 70.3 | 1954-03-23 |  | 8 | Li
21 | S | 37 | E | 10.211 |  |  | Continental Carbon Oil Co. | Qal | 76 | 3440 | 26 | 1953 | 1945 | 8 | Te | In, D
21 | S | 37 | E | 11.311 |  |  |  | Qal | 77M | 3426 | 39.1 | 1953-12-08 |  | 7.5 | N | N
21 | S | 37 | E | 12.341 |  |  | Terry and McNiel | Qal | 100 | 3450 | 76.3 | 1953-10-02 |  | 7 | Ti | In
21 | S | 37 | E | 13.111 |  |  | Western Oil Field Corp. | Qal | 185 | 3425 | 60 | 1953-10-02 | 1953 |  |  |  | Drilled for oil.
21 | S | 37 | E | 14.123 |  |  |  | Qal |  | 3420 | 25.4 | 1953-12-08 |  | 6 | Lw | S
21 | S | 37 | E | 18.442 |  |  | T. Davis | To | 125 | 3510 | 99.7 | 1954-01-10 |  | 7 | Ti | D, S
21 | S | 37 | E | 21.111 |  |  |  | To |  | 3460 | 73.1 | 1954-01-10 |  | 7.75 | N | N
21 | S | 37 | E | 22.211 |  |  |  | To | 49M | 3420 | 37.7 | 1955-04-21 |  |  | N | N
21 | S | 37 | E | 22.413 |  |  |  | To |  | 3410 | 75 | 1953-10-01 |  | 7 | N | N
21 | S | 37 | E | 23.211 |  |  | Skelley Oil Co. | To(?) | 81 | 3420 | 42.5 | 1953-10-01 | 1948 |  | N | N | Skelly Eunice Plant 2, well 1. Initial yield, 55 gpm.
21 | S | 37 | E | 23.213 |  |  | Skelley Oil Co. | To(?) | 83 | 3410 | 45.8 | 1953-10-01 | 1948 |  | N | N | Skelly Eunice Plant 2, well 2.
21 | S | 37 | E | 23.231 |  |  | Skelley Oil Co. | To(?) | 84 | 3410 | 43 | 1953-10-01 | 1948 |  | N | N | Skelly Eunice Plant 2, well 3. Initial yield, 100 gpm.
21 | S | 37 | E | 23.233 |  |  | Skelley Oil Co. | To(?) | 81 | 3405 | 44.1 | 1953-10-01 | 1948 |  | N | N | Skelly Eunice Plant 2, well 4. Initial yield 60 gpm.
21 | S | 37 | E | 23.3 |  |  | Gulf Oil Corp. | To | 100 | 3390 | 59 | 1950-05-31 | 1948 | 10.75 | Te | In, D | Gulf Eunice Gasoline Plant, well 22.
21 | S | 37 | E | 23.331 |  |  |  | To |  | 3385 | 72.9 | 1953-10-01 |  | 8.5 | N | N
21 | S | 37 | E | 23.331a |  |  | Gulf Oil Corp. | To | 96 | 3390 | 64 | 1950-05-31 |  | 7 | Te | In, D | Gulf Eunice Plant, well 23.
21 | S | 37 | E | 26.232 |  |  | Gulf Oil Corp. | To | 101 | 3365 | 64 | 1948-12-03 |  |  | Te | In, D | Gulf Eunice Plant, Cone well 1.
21 | S | 37 | E | 26.4 |  |  | Gulf Oil Corp. | Qal | 160 | 3365 | 53 | 1951-07-23 |  | 5.625 | N | N | Gulf Eunice Plant, well 5.
21 | S | 37 | E | 27.232 |  |  | Gulf Oil Corp. | To | 99 | 3400 | 62 | 1948 | 1948 | 7 | Te | In, D | Gulf Eunice Plant, well 14. Initial yield, 55 gpm.
21 | S | 37 | E | 27.241 |  |  | Gulf Oil Corp. | To | 180 | 3385 | 60 | 1948 |  | 7 | N | N | Gulf Eunice Plant, well 4.
21 | S | 37 | E | 30.414 |  |  |  | To |  | 3480 | 101.6 | 1954-01-11 |  |  | Lw | In
21 | S | 37 | E | 32.121 |  |  | Skelley Oil Co. | To | 92M | 3460 | 90.7 | 1954-01-15 |  | 6.5 | N | N
21 | S | 37 | E | 33.11 |  |  | City of Eunice | To | 130 | 3450 |  |  |  | 6 | N | N | Old public-supply well. WBZ 90-130 feet. Chemical analysis in table 8.
21 | S | 37 | E | 33.111 |  |  | Magnolia Oil Co. | To | 110(?) | 3450 | 103.8 | 1953-12-10 |  | 6 | Ti | In, D | Water used for oil well flooding. Chemical analysis in table 8.
21 | S | 37 | E | 33.21 |  |  | City of Eunice | Tr | 350 | 3430 |  | 1944 |  | 6 | N | N | Old public-supply well. WBZ 320-350 feet. Chemical analysis in table 8. EY 10 gpm.
21 | S | 37 | E | 33.211 |  |  |  | To | 103M | 3430 | 99.6 | 1953-11-12 |  | 10.75 | N | N
21 | S | 37 | E | 33.233 |  |  | City of Eunice | To | 135 | 3435 | 100 | 1944 |  | 8 | Te | P | City well 1. Perforated 100-130 feet. Chemical analysis in table 8.
21 | S | 37 | E | 35.423 |  |  | Gulf Oil Corp. | Qal | 110 | 3375 | 61 | 1950-05-17 |  | 10.75 | Te | In, D | Gulf Eunice Plant, well 21.
21 | S | 37 | E | 35.442 |  |  | Gulf Oil Corp. | Qal | 87 | 3360 | 59 | 1951-11-14 |  | 7 | Te | In, D | Gulf Eunice Plant, well 17. WBZ sand and gravel, 65-74 feet.
21 | S | 37 | E | 36.144 |  |  | P. Wallach | Qal | 66±M | 3370 | 47.8 | 1953-10-09 |  | 6 | Lw | S
21 | S | 37 | E | 36.344 |  |  | P. Wallach | Qal |  | 3360 | 49.8 | 1953-10-09 |  | 8.625 | Lw | S
21 | S | 38 | E | 6.133 |  |  | Ray McNeil | Qal | 90+ | 3550 | 79.4 | 1953-12-07 |  | 7 | N | N
21 | S | 38 | E | 6.133a |  |  | Ray McNeil | To | 90? | [5 empty] | Lw |  | Chemical analysis in table 8.
21 | S | 38 | E | 6.133b |  |  | Ray McNeil | To | 108 | [5 empty] | N | N | Chemical analysis in table 8.
21 | S | 38 | E | 8.144 |  |  | Humble Oil Co. |  | 133 | 3565 | Dry | [5 empty] | Plugged and abandoned
22 | S | 33 | E | 13.2 |  |  | San Simon Ranch | Tr | 508 | 3510 |  |  |  |  | Lw | S | WBZ 420-470 feet.
22 | S | 34 | E | 12.111 |  |  | San Simon Ranch | Qal | 62 | 3530 | 48 |  | 1951 |  | Lw | D, S
22 | S | 34 | E | 12.114 |  |  | San Simon Ranch | Qal | 16M | 3515 | 12.6 | 1954-03-17 |  |  | Lw | S | Is an infiltration tunnel about 70 feet long and 5 feet in diameter feeding 2 windmills, 1 centrifugal pump and 1 siphon.
22 | S | 36 | E | 1.333 |  |  | Gulf Oil Corp. | To | 150 | 3490 | 111.2 | 1953-11-12 |  |  | Li | L | Chemical analysis in table 8.
22 | S | 36 | E | 2.444 | [10 empty] | Lw | S | Chemical analysis in table 8.
22 | S | 36 | E | 8.443 |  |  | United Carbon Co. | Tr | 1000± | 3580 | 700 |  |  | 8 | Le | In, D | Three wells. EY 30 gpm each. Chemical analysis in table 8.
22 | S | 36 | E | 11.224 |  |  | Texas-Pacific Coal and Oil Co. | To | 120+ | 3500 | 113.8 | 1953-11-12 |  | 8 | Lw | D | Chemical analysis in table 8.
22 | S | 36 | E | 13.222 |  |  | Ohio Oil Co. | Tr(?) |  | 3455 | Flowing |  |  | 7 | N | N | Capped and flowing.
22 | S | 36 | E | 25.434 |  |  | R. L. Robinson | To |  | 3430 | 118.5 | 1953-11-23 |  |  | Li | S
22 | S | 36 | E | 35.314 |  |  | R. L. Robinson | To | 197 | 3490 | 187.4 | 1953-11-23 |  |  | Lw | S
22 | S | 36 | E | 1.132 |  |  | G. Sims | Qal |  | 3350 | 47.6 | 1953-10-14 |  |  | N | N | Open, uncased hole.
22 | S | 36 | E | 1.44 |  |  | G. Sims | Qal | [6 empty] | lW | S | Chemical analysis in table 8.
22 | S | 36 | E | 2.442 |  |  | Humble Oil Co. | Qal | 86M | 3360 | 53.3 | 1953-10-09 |  | 7 | N | N | Initial yield, 68 gpm.
22 | S | 36 | E | 3.133 |  |  | Sinclair Oil and Gas Co. | To | 120 | 3425 | 90 |  | 1946 |  | Je | D
22 | S | 36 | E | 3.134 |  |  | Sinclair Oil and Gas Co. |  | 52M | 3420 | Dry | 1953-09-28 |  |  | N | N
22 | S | 36 | E | 3.44 |  |  | Cities Service Oil Co. | To |  | 3390 | 75.8 | 1953-09-29 |  | 7.5 | N | N
22 | S | 36 | E | 4.211 |  |  | City of Eunice | To | 155 | 3445 | 110 | 1953 | 1953 | 10 | Te | P | Well 12. Initial yield 100 gpm; yield in 1953, 60 gpm.
22 | S | 36 | E | 4.213 |  |  | City of Eunice | To | 155 | 3440 | 114.8 | 1954-03-06 | 1952 | 10 | Te | P | Well 11. EY 60 gpm.
22 | S | 36 | E | 4.214a |  |  | Eunice Cemetary Assoc. | To | 115±M | 3435 | 108.2 | 1953-09-29 |  | 6.5 | N | N
22 | S | 37 | E | 4.233 |  |  | City of Eunice | To | 155 | 3435 | 110 | 1951 | 1951 | 8 | Te | P | Well 9.
22 | S | 37 | E | 4.421 |  |  | Sinclair Oil and Gas Co. | To | 114±M | 3430 | 90.1 | 9/58/53 |  | 7.625 | N | N
22 | S | 37 | E | 4.424 |  |  | Skelley Oil Co. | To | 164 |  | <139 |  | 1950 | 8.625 | Ti | In, D | Skelly Eunice Plant 1, well 13. Initial yield, 150 gpm; dropped to 20 pm.
22 | S | 37 | E | 8.441 |  |  | Shell Oil Co. | To | 168 | 3400 | 60 | 1953 | 1936 | 6.625 | Lw | D
22 | S | 37 | E | 9.313a |  |  | Humble Oil Co. | To | 166M | 3400 | 72.7 | 1953-09-29 | 1944 | 9.5 | N | N | Humble-J. L. Greenwood well 2.
22 | S | 37 | E | 9.331 |  |  | Humble Oil Co. | To | 160 |  |  |  | 1945 | 7.625 | Te | D | Humble-J. L. Greenwood well 4.
22 | S | 37 | E | 9.333 |  |  | Humble Oil Co. | To | 172 |  |  |  | 1946 | 4 | Te | In | Humble-J. L. Greenwood well 5. Water used for oil well flooding.
22 | S | 37 | E | 9.441 |  |  | Humble Oil Co. | To | 104±M | 3410 | 85.5 | 1953-09-29 | 1940 | 6.625 | N | N | Humble -J. L. Greenwood well 1.
22 | S | 37 | E | 10.213 |  |  | Gulf Oil Corp. | To | 220 | 3400 | 100 | 1950 |  |  | Lw | D | Gulf-Brunson lease well.
22 | S | 37 | E | 10.32 |  |  | Skelley Oil Co. | To |  | 3395 | 81 | 1953-09-29 |  | 11.5 | N | N
22 | S | 37 | E | 11.324 |  |  |  | Qal | 100M | 3350 | 45.3 | 1953-10-16 | 1952 | 5 | N | N
22 | S | 37 | E | 11.444 |  |  | Leo Sims | Qal |  | 3345 | 58.7 | 1953-10-16 |  | 8.625 | Lw | S
22 | S | 37 | E | 12.114 |  |  | G. Sims | Qal | 84M | 3340 | 53.9 | 1953-10-14 |  | 7 | N | N
22 | S | 37 | E | 12.443 |  |  | G. Sims | Qal | 59M | 3335 | 53.9 | 1953-10-14 |  | 15 | N | N
22 | S | 37 | E | 12.443a |  |  | G. Sims | Qal | 59M | 3335 | 53.3 | 1953-10-14 |  |  | N | N | Uncased and open.
22 | S | 37 | E | 15.333 |  |  | H. O. Sims | To |  | 3380 | 81 | 9//1953 |  | 4.75 | Lw | D, S
22 | S | 37 | E | 16.432 |  |  | Skelley Oil Co. | To | 135 |  |  |  |  | 7 | Ti | In, D | Skelly Eunice Plant 1, well 11. EY 40 gpm.
22 | S | 37 | E | 16.443 |  |  | Skelley Oil Co. | To | 136 | 3385 | 80.9 | 1953-09-28 | 1947 | 8.625 | Ti | In, D | Skelly Eunice Plant 1, well 10.
22 | S | 37 | E | 21.221 |  |  |  | To(?) |  | 3380 | 76.5 | 9//1953 |  | 6.625 | N | N
22 | S | 37 | E | 21.421 |  |  |  | To(?) |  | 3360 | 62 | 9//1953 |  | 4.5 | N | N
22 | S | 37 | E | 22.331 |  |  | Skelley Oil Co. | To(?) | 115± | 3350 | 69 | 1953-09-29 | 1949 |  | Ti | In, D | Skelly Eunice Plant 1, well 12. EY 40 gpm.
22 | S | 37 | E | 23.233 |  |  | Leo Sims | Qal | 77M | 3345 | 55 | 1953-10-14 |  | 14 | N | N | Open and uncased.
22 | S | 37 | E | 23.441 |  |  | O. I. Boyd | Qal | 70± | 3335 | 55.3 | 1953-10-12 |  |  | Lw | N | Dug.
22 | S | 37 | E | 23.441a |  |  | O. I. Boyd | Qal | 70± | 3335 | 55.2 | 1953-10-12 |  | 7.5 | N | N
22 | S | 37 | E | 24.113a |  |  | G. Sims | Qal | 127M | 3322 | 59.3 | 1955-04-21 |  | 10 | Li | N
22 | S | 37 | E | 24.113b |  |  | G. Sims | Qal | 80 | [5 empty] | Lw | N | Chemical analysis in table 8.
22 | S | 37 | E | 25.313 |  |  | Marshal Drinkard | Qal | 69M | 3300 | 50.1 | 1953-10-14 | 1945 | 13.5 | N | N
22 | S | 37 | E | 27.334b |  |  | Skelley Oil Co. | Qal | 127M | 3335 | 54.4 | 9//1953 |  | 8.5 | N | N | Skelly Eunice Plant 1, well 9.
22 | S | 37 | E | 27.41 |  |  | Skelley Oil Co. | To? | 182 |  |  |  |  | 7 | Te | In, D | EY 25 gpm. Perforations 150-170 feet.
22 | S | 37 | E | 28.323 |  |  | Clower Drilling Co. | Qal |  | 3353 | 66.1 | 9//1953 |  | 9.25 | N | N
22 | S | 37 | E | 34.221 |  |  | Humble Oil Co. | Qal and Tr | 229 | 3520 |  |  | 1938 |  |  | In | WBZ 58-61 feet, 138-146 feet, 185-192 feet. EY 22 gpm.
22 | S | 37 | E | 36.141a |  |  | Tom Linebury | Qal | 40 | 3300 | 32.2 | 1954-10-12 |  |  | Lw | S
22 | S | 37 | E | 36.141b |  |  | Tom Linebury | Qal | 46 | 3300 | 31.1 | 1955-06-03 |  | 6 | N | N
22 | S | 38 | E | 18.234 |  |  | The Texas Co. | Tr | 386M | 3360 | 180 | 10//1953 | 1953 |  | Li | In | WBZ gray sand, 325-380 feet. EY 20 gpm.
22 | S | 38 | E | 19.222 |  |  | The Texas Co. | Tr |  | 3365 | 146 | 1953-10-14 |  | 7 | N | N
23 | S | 23 | E | 4.222 |  |  | C. H. and W. O. James | Tr | 550 | 3630 |  |  | 1931 | 8 | Lw | S | EY 10 gpm.
23 | S | 32 | E | 21.222 |  |  | Frank and Charles James | Tr | 550 | 3700 | 500 |  |  | 8 | Li | S
23 | S | 33 | E | 12.322 |  |  | San Simon Ranch | Tr | 400 | 3685 |  |  | 1953 |  | Lw | S | WBZ 370-400 feet.
23 | S | 33 | E | 28.334 |  |  | Brinninstool | Tr | 575 | 3675 | 500 |  |  |  | Lw | D, S | EY 2.5 gpm.
23 | S | 34 | E | 1.444 |  |  | San Simon Ranch | Qal | 144±M | 3360 | 137.3 | 1953-11-25 |  | 6 | N | N
23 | S | 34 | E | 31.34 |  |  | Continental Oil Co. | Tr | 678 | 3620 |  |  | 1953 | 8 | Li | In | EY 47 gpm. Chemical analysis in table 8.
23 | S | 35 | E | 27.444 |  |  |  | To |  | 3480 | 117.2 | 3//1953 |  | 7 | N | N
23 | S | 36 | E | 15.414 |  |  | J. E. Matkins | To(?) | 230 | 3390 | 148.4 | 1953-12-04 |  | 6 | Lw | D, S
23 | S | 36 | E | 16.343 |  |  | J. E. Matkins | Tr | 1100 | 3465 | 150 | 1952 |  |  | Lw | S
23 | S | 36 | E | 22.434 |  |  | Texas-Pacific Coal and Oil Co. | To | 210±M | 3395 | 188.6 | 1953-12-01 |  | 8.5 | N | N
23 | S | 36 | E | 23.111 |  |  | Texas-Pacific Coal and Oil Co. | To |  | 3370 | 143.6 | 1953-12-04 |  | 8 | Li | In
23 | S | 36 | E | 31.233 |  |  | J. Combass | To | [6 empty] | Lw | S | Chemical analysis in table 8.
23 | S | 36 | E | 35.211 |  |  | J. Combass | To | 170 | 3330 | 123 | 3//1953 |  | 6.5 | N | N
23 | S | 36 | E | 36.341 |  |  | EPNG | To | 250 | 3330 | 124 |  |  | 10.75 | Ti | In, D | Jal Plant4, well 8.
23 | S | 36 | E | 36.342 |  |  | EPNG | To | 261 | 3330 | 120 |  | 1952 |  | Ti | In, D | Jal Plant4, well 7.
23 | S | 37 | E | 2.133 |  |  |  | To |  | 3304 | 62.8 | 1953-10-16 |  |  | N | N
23 | S | 37 | E | 2.422 |  |  |  | Qal |  | 3295 | 64.1 | 1955-06-03 |  | 6 | Lw | S
23 | S | 37 | E | 3.421 |  |  | H. O. Sims | To | 80 | 3295 | 64.1 | 1953-10-16 |  |  | Lw | D, S
23 | S | 37 | E | 4.114 |  |  |  | To | 84-M | 3341 | 81.8 | 1953-12-03 |  | 5.5 | N | N
23 | S | 37 | E | 4.211 |  |  | Skelley Oil Co. | Tr(?) | 226 | 3340 |  |  | 1947 | 10.75 | Le | D | H. O. Sims Camp well 1. EY 10 gpm.
23 | S | 37 | E | 6.144 |  |  |  | To |  | 3375 | 102.9 | 1953-12-03 |  | 6.5 | Lw | S
23 | S | 37 | E | 20.333 |  |  | Bert Steeler | Qal(?) | 177 | 3300 | 117 |  | 1939 |  | Lw | D, S
23 | S | 37 | E | 25.132 |  |  | M. L. Goins | To(?) |  | 3215 | 28.3 | 1953-10-15 |  | 7 | Lw | S
23 | S | 37 | E | 27.441 |  |  |  | Qal |  | 3270 | 78.3 | 1953-03-04 |  | 5.5 | Lw | S
23 | S | 37 | E | 31.442 |  |  | EPNG | To(?) | 173 | 3300 | 118 | 1952 | 1952 | 12.5 | Te | In, D | Jal Plant 4, well 4.
23 | S | 37 | E | 32.122 |  |  |  | To(?) |  | 3300 | 99 | 1954-07-23 |  | 6 | Lw | S
23 | S | 37 | E | 32.331 |  |  | EPNG | To(?) | 173 | 3310 |  |  |  | 20 | Te | In, D | Jal Plant 4, well 1. WBZ 115-171 feet. EY 40 gpm.
23 | S | 37 | E | 33.122 |  |  |  | To(?) | 120M | 3310 | 91.2 | 1953-03-04 |  | 9 | N | N
23 | S | 38 | E | 5.233 |  |  | Humble Oil Co. | Tr | 400M | 3385 | 189.8 | 1953-10-15 | 1943 | 7.5 | N | N | W. F. Scarbrough well 1. EY 14 gpm.
23 | S | 38 | E | 8.214 |  |  | Tom Linebury | Tr |  | 3372 | 198.3 | 1953-10-15 |  | 6.5 | Lw | D, S
24 | S | 32 | E | 3.322 |  |  | Frank James | Tr | 550 | 3650 |  |  |  | 10 | Lw | D, S
24 | S | 32 | E | 10.344 |  |  | Frank James | Qal | 60 | 3588 | 31.1 | 1955-06-03 | 1910 | 6 | Lw | S | Located in sink.
24 | S | 32 | E | 33.422 |  |  | Richard Ritz | Tr | 367M | 3510 | 313.4 | 1958-02-18 |  | 12 | Lw | S | EY 0.25 gpm.
24 | S | 33 | E | 10.133 |  |  | Carl Johnson | Qal | 36±M | 3595 | 24.6 | 1953-11-27 |  | 6.5 | Lw | S
24 | S | 33 | E | 23.311 |  |  |  | Tr | 232M | 3565 | 208.6 | 1953-11-27 |  | 9.5 | N | N
24 | S | 33 | E | 24.444 |  |  |  | Qal |  | 3530 | 16.9 | 1953-11-27 |  | 5.5 | Lw | S
24 | S | 33 | E | 33.231 |  |  | Carl Johnson | Qal |  | 3460 | 93.2 | 1954-03-17 |  | 6 | Lw | D, S
24 | S | 34 | E | 4.111 |  |  |  | To |  | 3570 | 51.3 | 1955-06-03 |  |  | Lw | S
24 | S | 34 | E | 5.444 |  |  |  | To | 78(?) | 3590 | 66.6 | 1955-04-21 |  |  | Lw | N
24 | S | 34 | E | 10.112 |  |  | Madera Ranch | To | 83M | 3525 | 71.8 | 1953-04-27 |  | 6 | N | N
24 | S | 34 | E | 10.422 |  |  | Madera Ranch | To | 94M | 3315 | 63.2 | 1953-04-27 |  | 7.5 | N | N
24 | S | 34 | E | 35.122 |  |  | Madera Ranch | Tr | 258M | 3410 | 223.9 | 1953-03-29 |  | 6 | Lw | S
24 | S | 35 | E | 30.341 |  |  | Madera Ranch | Tr | 150±M | 3320 | 139.6 | 1953-11-27 |  | 6 | Lw | S
24 | S | 36 | E | 3.111 |  |  |  | To |  | 3400 | 181.1 | 1953-03-12 |  | 7.5 | N | N
24 | S | 36 | E | 3.333 |  |  | Charles Whitten | To(?) | 190±M | 3390 | 181.1 | 1953-03-12 |  | 11.5 | N | N
24 | S | 36 | E | 9.133 |  |  | Charles Whitten | To | 230 | 3395 | 195 | 1953-03-06 | 1948 | 7 | N | N
24 | S | 36 | E | 13.314 |  |  | Humble Oil Co. | To | 160 |  |  |  | 1941 |  |  |  | WBZ sand, 138-158 feet. EY 10 gpm.
24 | S | 36 | E | 15.222 |  |  | Canmex Oil Co. | To | 200 | 3370 | 181.3 | 1953-03-12 | 1973 | 7 | Lw | D
24 | S | 36 | E | 22.22 |  |  | Continental Oil Co. | Tr | 692 | 3340 |  |  |  | 8.25 | Li | D | A. H. Meyers "A" well 1. Intake set at about 475 feet. Maximum yield 6 gpm.
24 | S | 36 | E | 23.222 |  |  |  | To |  | 3345 | 147.9 | 1953-03-06 |  | 6.25 | Lw | I | Measurement made inside pipe column.
24 | S | 36 | E | 27.221 |  |  | J. R. Wilson | To |  | 3320 | 122.9 | 1953-03-06 |  | 10 | N | N
24 | S | 37 | E | 5.111 |  |  | EPNG | To | 173 | 3275 | 111 | 1953-09-08 | 1952 | 10.75 | Te | In, D | Jal Plant 4, well 6.
24 | S | 37 | E | 7.431 |  |  | Fowler Hair | To | 132M | 3300 | 119.9 | 1953-03-06 |  | 6.25 | N | N
24 | S | 37 | E | 10.123 |  |  | Trinity Production Co. | Tr | 747 | 3260 | 120 | 2//1953 | 1953 |  | Li | In | EY 42 gpm. Chemical analysis in table 8.
24 | S | 37 | E | 14.211 |  |  | Fowler Hair | To(?) | 72M | 3205 | 64.5 | 1953-03-03 |  | 5 | N | N
24 | S | 37 | E | 16.342 |  |  |  | To | 106M | 3235 | 67.7 | 1953-03-11 |  | 9 | N | N
24 | S | 37 | E | 16.423 |  |  | Humble Oil Co. | To | 150 | 3240 |  |  | 1951 | 6.625 | Te | D | Fowler-Ellenburger Camp well 1. WBZ 90-150 feet.
24 | S | 37 | E | 17.422 |  |  | Fowler Hair | To | 92M | 3260 | 86.5 | 1953-03-04 |  | 7.5 | N | N
24 | S | 37 | E | 19.234 |  |  |  | To | 124M | 3290 | 117.4 | 1953-03-05 |  | 10 | Lw | S
24 | S | 37 | E | 21.444 |  |  | Dollarhide Water Co. | To | 74M | 3210 | 69.6 | 1953-03-02 |  | 7.5 | N | N
24 | S | 37 | E | 25.322 |  |  | Fowler Hair | To |  | 3165 | 76.1 | 1953-03-03 |  | 6.5 | Lw | D, S
24 | S | 37 | E | 34.32 |  |  | Plains Production Co. | To | 75±M | 3160 | 56.8 | 1953-03-02 |  | 12 | N | N
25 | S | 33 | E | 20.443 |  |  |  | Tr |  | 3395 | 200-250 | 1958-08-18 |  | 6 | Lw | D, S
25 | S | 33 | E | 31.244 |  |  | Nick Ritz | Tr | 320 | 3400 | 357.5 | 1954-07-26 |  | 8 | Lw | S
25 | S | 34 | E | 1.132 |  |  | Madera Ranch | Tr | 300+ | 3385 | 231 | 1953-04-15 |  | 6 | N | N
25 | S | 34 | E | 15.242 |  |  |  | Tr | 168 | 3335 | 164.9 | 1954-07-23 |  | 10 | Lw | S
25 | S | 35 | E | 10.223 |  |  | Georgia Bryant | To | 83M | 3180 | 76.9 | 1953-04-02 |  | 9 | Lw | S
25 | S | 35 | E | 21.122 |  |  |  | Tr |  | 3230 | 173.3 | 1943-04-02 |  | 8.5 | N | N
25 | S | 36 | E | 10.313 |  |  | W. D. Dinwiddie | Tr | 512 | 3130 | 300 |  |  |  | Lw | S
25 | S | 36 | E | 15.111 |  |  | W. D. Dinwiddie | Tr(?) | 140 | 3125 | 120.2 | 3//1953 | 1951 |  | N | N
25 | S | 36 | E | 23.234 |  |  |  | Qal | 65M | 3070 | 53.7 | 1953-03-31 |  | 6.5 | Lw | S
25 | S | 36 | E | 24.112 |  |  | Humble Oil Co. | Tr | 455 | 3115 | 292.4 | 1953-04-15 |  |  | N | N
25 | S | 37 | E | 1.34 |  |  | Pure Oil Co. | To | 217 | 3108 | 60 |  |  | 20 | Te | In, D
25 | S | 37 | E | 2.332 |  |  | Richmond Drilling Co. | To | 112M | 3140 | 98.8 | 1953-03-29 |  | 7 | Lw | D
25 | S | 37 | E | 9.333 |  |  | Stanolind Oil Co. | Tr | 502 | 3140 |  |  | 1938 |  | Lw | D | WBZ 470-502 feet.
25 | S | 37 | E | 10.412 |  |  | EPNG | To | 270 | 3120 | 50 | 1949-12-20 | 1949 | 12 | Te | In, D | Jal Plant 3, well 2.
25 | S | 37 | E | 10.433 |  |  | M. B. Owens | To |  | 3100 | 54.3 | 1953-02-26 |  | 7.5 | Lw | S | MWP
25 | S | 37 | E | 13.312a |  |  | Cuty of Jal | To | 152 | 3080 | 73 | 6//1954 | 1954 | 12 | Te | P | New City well. EY 750 gpm. Chemical analysis in table 8.
25 | S | 37 | E | 15.221 |  |  | J. M. Owens | To |  | 3100 | 59.2 | 1953-02-26 |  |  | Ti | In | EY 30 gpm. PR.
25 | S | 37 | E | 15.223 |  |  | Sun Oil Co. | To |  | 3090 |  |  |  |  | Lw | D | Chemical analysis in tabke 8.
25 | S | 37 | E | 15.411 |  |  |  | Qal | 85M | 3070 | 31.1 | 1953-02-26 |  | 6.5 | N | N
25 | S | 37 | E | 17.114 |  |  |  | Qal |  | 3105 | 62.8 | 1953-03-05 |  |  | Lw | S | MWP
25 | S | 37 | E | 19.221 |  |  |  | To |  | 3088 | 62.3 | 1955-05-30 |  | 6 | Je | D
25 | S | 37 | E | 19.221 |  |  | Cuty of Jal | Tr | 500 | 3110 | 284 | 1954-11-11 | 1948 | 10 | N | N | Chemical analysis in table 8.
25 | S | 37 | E | 19.24 |  |  | City of Jal | Tr | 450 | 3040 | 65 | 1942 |  |  |  |  | Old public-supply well. WBZ 70-450 feet. EY (1942) 50 gpm. Chemical analysis in table 8.
25 | S | 37 | E | 20.31 |  |  | City of Jal | Qal | 70 | 3035 | 65 | 1942-01-18 |  | 6*6 ft. |  |  | Dug. WBZ "clayey sand" 65-70 feet. EY 50 gpm. Chemical analysis in table 8.
25 | S | 37 | E | 20.413 |  |  | EPNG | Tr | 419 |  |  |  |  | 10.75 | Je | In, D | Jal General Camp well 1.
25 | S | 37 | E | 21.411 |  |  | G. B. Hadfield | To | 46M | 3050 | 38.2 | 1953-02-12 |  | 6 | Lw | S | EY 1 gpm.
25 | S | 37 | E | 24.211 |  |  |  | To |  | 3071 | 58.4 | 1953-02-12 |  | 6 | N | N
25 | S | 37 | E | 24.422 |  |  |  | To |  | 3050 | 60.2 | 1953-02-12 |  | 8 | N | N
25 | S | 37 | E | 25.411 |  |  |  | To | 62M | 3055 | 56.4 | 1953-02-12 |  | 6 | N | N
25 | S | 37 | E | 33.114 |  |  | Olsen Oil Co. | Qal | 105 | 3000 | 87.4 | 1953-02-16 |  | 12 | N | N
25 | S | 37 | E | 36.244 |  |  |  | To | 120 | 3035 | 74.2 | 1953-02-13 |  | 10 | N | N
25 | S | 38 | E | 6.122 |  |  | Fowler Hair | To | 65M | 3100 | 60.5 | 1953-03-03 |  | 6.5 | Lw | S
25 | S | 38 | E | 6.134 |  |  |  | To |  | 3095 | 53.1 | 1953-02-25 |  | 3 | N | N | Cased shothole.
25 | S | 38 | E | 9.343 |  |  |  | To |  | 3130 | 95.7 | 1953-02-25 |  | 6.5 | Lw | D, S | EY 30 gpm.
25 | S | 38 | E | 19.342 |  |  | Pure Oil Co. | To(?) | 133 | 3061 | 68 | 1952 |  |  |  | In | Dallarhide Gasoline Plant well 2.
25 | S | 38 | E | 21.121 |  |  | Tom Linebury | To | 110 | 3103 | 87.7 | 1953-02-12 |  | 7 | Lw | S
25 | S | 38 | E | 29.131 |  |  |  | Qal |  | 3040 | 69.9 | 1953-02-15 |  | 6 | Lw | N
26 | S | 32 | E | 21.322 |  |  | Battle Ax Ranch | Tr(?) | 253 | 3140 | 180 | 1954-07-23 |  |  | Li | D, S
26 | S | 33 | E | 3.444 |  |  | W. D. Dinwiddie | Qal | 180 | 3315 | 102.8 | 1954-07-23 |  | 6 | N | N
26 | S | 33 | E | 3.444a |  |  | W. D. Dinwiddie | Qal |  | 3315 |  |  |  | 6(?) | Lw | S | Chemical analysis in table 8. Located 50 feet west of 26.33.3.444
26 | S | 33 | E | 9.443 |  |  |  | Qal(?) |  | 3280 | 106.6 | 1954-07-26 |  |  | Lw | S
26 | S | 33 | E | 22.433 |  |  | Battle Ax Ranch | Qal | 200(?) | 3270 | 79.9 | 1954-07-26 |  | 6 | Lw | S
26 | S | 34 | E | 6.213 |  |  |  | Tr | 360 | 3330 | 141.9 | 1954-07-23 |  | 8 | Lw | S
26 | S | 35 | E | 13.222 |  |  |  | Qal |  | 2990 | 229.1 | 1958-12-12 |  | 7 | Lw | S | Chemical analysis in table 8.
26 | S | 36 | E | 9.44 |  |  | Frank Antheys | Qal | 184M | 2940 | 177.8 | 1958-12-12 |  | 7 | Lw | D, S | MWP
26 | S | 36 | E | 18.311 |  |  | City of Jal | Qal | 559 | 2981 | 220.8 | 1960-03-17 | 1960 | 24 | Te(?) | P | Yield 453 gpm. Gravel packed. WBZ 275-300, 400-465, 500-530 feet.
26 | S | 36 | E | 19.233 |  |  | City of Jal | Qal | 700 | 2950 | 198 |  | 1960 | 24 | Te(?) | P | Yield 408 gpm. Gravel packed. WBZ 270-280, 400-480, 550-600, 670-680 feet.
26 | S | 36 | E | 21.443 |  |  |  |  | 137(?) | 2900 | Dry | 1953-12-11 |  | 11 | N | N
26 | S | 37 | E | 2.133 |  |  | Clyde Cooper | Qal(?) | 119 | 3000 | 103.4 | 1953-02-16 | 1973 | 8 | Lw | S
26 | S | 37 | E | 7.331 |  |  | EPNG | Tr | 476 | 2960 |  |  | 1973 | 8.625 | Te | In, D | Jal Plant 1, well 1.
26 | S | 37 | E | 12.314 |  |  |  | Qal |  | 3010 | 102.3 | 1953-02-16 |  | 9.5 | N | N
26 | S | 37 | E | 12.331 |  |  |  | Qal | 103±M | 3000 | 99.9 | 1953-02-17 |  | 3 | N | N | Cased shothole.
26 | S | 37 | E | 12.441 |  |  | Humble Oil Co. | Qal | 175 |  |  |  | 1944 |  |  |  | WBZ 125-150 feet. EY 68 gpm.
26 | S | 37 | E | 14.122 |  |  |  | Qal | 131M | 2985 | 100.6 | 1953-02-17 |  | 3 | N | N | Cased shothole.
26 | S | 38 | E | 7.244 |  |  | Tom Linebury | Qal | 73 | 3000 | 57.1 | 1953-02-24 |  | 8.5 | N | N
26 | S | 38 | E | 8.444 |  |  | Tom Linebury | Qal | 66 | 3000 | 64.5 | 1953-02-24 |  | 6.5 | Lw | S
26 | S | 38 | E | 17.414 |  |  | Tom Linebury | Qal |  | 2975 | 39.4 | 1953-02-24 |  | 5.5 | Lw | S
26 | S | 38 | E | 21.344 |  |  | Tom Linebury | Qal |  | 2955 | 29 | 1953-02-13 |  | 3 | N | N | Cased shothole.
26 | S | 38 | E | 32.141 |  |  | Tom Linebury | Tr(?) |  | 2950 | 142.4 | 1953-02-13 |  | 26 | N | N