## HR 5 Table 1
T | N/S | R | E/W | Section Number | Owner or Name | Chem Anal. | Year Completed | Casing diam. (inches) | Well Depth (ft) | Well Depth variable | Water Level Depth (ft) | Water Level Depth variable | Water Level Date | Added day | Added month | Geologic Unit (Aquifer) | Yield | Pump/Power | Use of Water | Remarks | Comments
6 | N | 5 | E | 1.21 | Inlow Youth Camp |  |  |  | 600 | [6 empty] | IPm | N | N | N | Reported dry hole.
6 | N | 6 | E | 1.41 | Romelo Barela |  | 1929 |  | 300 | [6 empty] | IPm | N | N | N | Reported dry hole. | "1929?" Year Completed
6 | N | 6 | E | 2.122 |  |  |  | 5 | 316 |  | 169.6 |  | 1963-11-07 |  |  | IPm |  | C/W | D, S | Not in use when visited.
6 | N | 6 | E | [7 empty] | 256.5 |  | 1949-12-08 |  |  | IPm
6 | N | 6 | E | 5.321 | Jane Clark |  | 1960 |  | 135 | [6 empty] | IPm | A | "-/E" | D
6 | N | 6 | E | 5.322 | Jane Clark |  | 1960 |  | 175 |  | 2 | R | 1960-01-01 | 1 | 1 | IPm | A | "-/E" | D
6 | N | 6 | E | 5.433 | Max Flatow |  | 1947 |  | 100 | [6 empty] | IPm | A | "-/I" | D | Top of producing zone 60 feet. | "1947?" Year Completed
6 | N | 6 | E | 10.4 | Pete Lucero |  | 1933 |  | 200 | [6 empty] | IPm | N | N | N | Dry hole.
6 | N | 6 | E | 11.324 | Juan Chavez, Jr. |  | 1961 |  | 150 | [6 empty] | IPm | N | N | N | Dry hole.
6 | N | 6 | E | 11.333 | Village of Tajique |  | 1948 |  | 200 | [6 empty] | IPm | 1(-) | N | N | Former community supply.
6 | N | 6 | E | 11.334 | Frank Dow |  | 1961 |  | 200 | [6 empty] | IPm | N | N | N | Dry hole. | "1961?" Year Completed
6 | N | 6 | E | 11.341 | Frank Dow |  | 1963 |  | 200 | [6 empty] | IPm | N | N | N | Dry hole.
6 | N | 6 | E | 11.344 | Village of Tajique |  | 1945 |  | 200 |  | 57 | R | 1964-01-01 | 1 | 1 | IPm | 5 | S/E | Ps | Pumps about 1,600 gal/day.
6 | N | 6 | E | 12.334 |  |  |  | 6 |  |  | 29.4 |  | 1964-10-26 |  |  | IPm |  | N | N
6 | N | 6 | E | 13.22 | Cecil D'Spain |  | 1930 |  | 240 |  | 175.1 |  | 1949-12-09 |  |  | IPm |  |  |  | Top of producing zone 238 feet; Well 6.6.13.210 in Smith (1957).
6 | N | 6 | E | 13.221 | Cecil D'Spain |  | 1958 | 6 | [7 empty] | IPm | Adeq | S/E | D |  | "1958?" Year Completed
6 | N | 6 | E | 14.113 | Village of Tajique | X | 1948 |  | 200 |  | 59.4 |  | 1949-12-07 |  |  | IPm | Inad | "-/E" | Ps | Former community supply; 6.6.14.111 in Smith (1947); potability problem.
6 | N | 6 | E | 15.224 | George Formwalt |  |  |  | 39 | M | 37.2 |  | 1949-12-07 |  |  | IPm |  |  |  | Dug well.
6 | N | 7 | E | 5.322 | C. E. Leasure | X |  |  | 325 | [6 empty] | IPm | A | C/E | S | Top of producing zone 283 ft; water reportedly tastes bad (contains CO2).
6 | N | 7 | E | 7.244 | Mrs. Simmons |  | 1917 | 8 | 250 |  | 142 |  | 1964-10-26 |  |  | IPm | a | C/W | D, S
6 | N | 7 | E | [7 empty] | 143.4 |  | 1949-12-09
6 | N | 7 | E | 9.424 |  |  |  |  | 72 | M | 64 |  | 1950-06-09 |  |  | Qe |  | N | N | Unused when visited in 1964.
6 | N | 7 | E | 11.222 | [6 empty] | 137.8 |  | 1955-02-04 |  |  | Qe |  | N | N | Caved and abandoned in 1964.
6 | N | 7 | E | [7 empty] | 138.6 |  | 1949-12-15
6 | N | 7 | E | 17.131 |  |  |  | 6 |  |  | 110 | + | 1964-10-26 |  |  | IPm |  | C/W | N | Dry at 110 feet.
7 | N | 5 | E | 36.424 | Inlow Youth Camp |  |  |  | 100 | [6 empty] | IPm | A | "-/E" | Ps
7 | N | 6 | E | 4.414 | La Jara Estates ? |  | 1962 | 6 |  |  | 10 |  | 1963-10-02 |  |  | IPm | A | C/W | S | Pumps into pond. | "1962?" Year Completed
7 | N | 6 | E | 12.324 | R. H. Lavendar |  | 1944 |  | 140 |  | 90.4 |  | 1963-11-13 |  |  | IPm | 2 | C/W | D | Water level reported 65 feet in 1944.
7 | N | 6 | E | 26.412 |  | X | 1938 | 12 |  |  | 46.1 |  | 1963-11-07 |  |  | IPm |  | C/W | S | Well 7.6.26.411 in Smith (1957). | "1938?" Year Completed
|  |  | E | [7 empty] | 54 |  | 1949-12-08
7 | N | 6 | E | 27.434 | Glover |  | 1934 | 6 | 170 |  | 140.9 |  | 1963-11-14 |  |  | IPm | A | C/W | D, S | Well 7.6.27.341 in Smith (1957).
|  |  | E | [7 empty] | 148.7 |  | 1949-12-08
7 | N | 6 | E | 35.343 |  |  |  | 5 |  |  | 150.1 | p | 1963-11-07 |  |  | IPm | A | C/W | S | Pumped recently; gas evolving from water.
7 | N | 6 | E | 36.121 |  |  |  | 4 |  |  | 24.6 |  | 1963-11-07 |  |  | IPm |  | C/W | S
7 | N | 6 | E | 36.211 |  |  |  |  | 70 | M | 44.9 |  | 1963-11-07 |  |  | IPm |  | C/W | S | Well 7.6.36.122 in Smith (1957).
7 | N | 6 | E | [7 empty] | 47.3 |  | 1948-12-08
7 | N | 7 | E | 1.122 | A. H. Sutherland |  | 1957 |  | 208 |  | 140 | R | 1961-01-01 | 1 | 1 | IPm |  | C/E | D, S |  | "1957?" Year Completed
7 | N | 7 | E | 1.233 | A. H. Sutherland |  | 1953 | 10 | 300 |  | 174.7 |  | 1963-10-30 |  |  | IPm | 1470 | T/E | Ir
7 | N | 7 | E | 2.211 | A. H. Sutherland |  | 1957 | 6 | 200 |  | 126.2 |  | 1963-10-30 |  |  | IPm | A | C/W | S
7 | N | 7 | E | 4.313 | C. Lucero | [5 empty] | 160.3 |  | 1949-11-07 |  |  | IPm |  | C/W | D, S
7 | N | 7 | E | 4.343 | D. F. Brinkley |  | 1943 |  | 100 |  | 80 | R | 1963-01-01 | 1 | 1 | IPm | A | S/E | D, S
7 | N | 7 | E | 5.444 | P. Barela |  | 1935 |  | 60 |  | 53.7 |  | 1963-11-14 |  |  | IPm | A | C/W | D, S | Dug well; 30 feet of alluvium over IPM.
7 | N | 7 | E | 7.331 | A. Schubert |  | 1860 |  | 20 |  | 13 |  | 1963-11-13 |  |  | Qal? | A | C/W | S | Dug well; reported used to flow. | "1860?" Year Completed
7 | N | 7 | E | 7.424 | L. Aceves |  | 1959 | 6 | 120 |  | 60 | R | 1963-11-13 |  |  | IPm | A | C/W | D, S | Top of producing zone 80 feet; 62 feet dug well in Qal nearby.
7 | N | 7 | E | 8.432 | J. Aguilar |  |  | 5.5 | 80 |  | 32.6 |  | 1963-11-14 |  |  | IPm | A | C/W | S
7 | N | 7 | E | 9.112 | D. F. Brinkley |  | 1900 |  | 100 |  | 80 | R | 1963-01-01 | 1 | 1 | IPm, Qal? | A | C/W | S | Originally dug 30 feet in Qal?; later drilled deeper.
7 | N | 7 | E | 10.422 | T. Griffing | X |  |  | 110 | M | 103.2 |  | 1950-05-12 |  |  | IPm |  | C/W | S
7 | N | 7 | E | 11.142 | T. Griffing |  |  |  | 300 |  | 110.8 |  | 1963-10-30 |  |  | IPm | 450 | T/I | Ir
7 | N | 7 | E | 12.342 | DeHart Estate | X | 1936 | 6 | 65 |  | 40.7 |  | 1945-05-08 |  |  | IPm |  | N | N | Former observation well; destroyed in 1945.
7 | N | 7 | E | 12.444 | C. B. Rowland |  | 1933 | 7 | 1359 |  | 46 |  | 1964-08-11 |  |  | IPm |  | N | O | Top of producing zone 64 feet; CO2 test hole; reportedly produced water.
7 | N | 7 | E | 13.431 |  |  | 1963 |  |  |  | 111.8 |  | 1963-10-31 |  |  | IPm | 120 | S/E | D? | Water reportedly contains CO2.
7 | N | 7 | E | 14.442 | D. F. Brinkley |  |  | 6 | 200 | [6 empty] | IPm |  | C/W | S | Water contains CO2.
7 | N | 7 | E | 15.133 |  |  |  |  | 300 | [6 empty] | IPm | N | N | N | Dry hole.
7 | N | 7 | E | 15.144 | E. Garvin |  |  |  | 290 | [6 empty] | IPm | A | T/I | D, S | Maintains 1-acre pond.
7 | N | 7 | E | 16.314 |  |  |  |  | 300 | [6 empty] | IPm | N | N | N | Dry hole.
7 | N | 7 | E | 17.222 |  |  |  |  | 496 | [6 empty] | IPm | N | N | N | Dry hole.
7 | N | 7 | E | 17.244 | D. Corbin |  |  |  | 310 | [6 empty] | IPm | A? | "-/E" | D
7 | N | 7 | E | 17.32 | Felipe Chavez |  | 1940 |  | 90 | [6 empty] | IPm | N | N | N | Dry hole.
7 | N | 7 | E | 17.34 | Felipe Chavez |  | 1940 |  | 200 | [6 empty] | IPm | N | N | N | Two dry holes 100+/- yards apart.
7 | N | 7 | E | 17.411 | W. Metzgar |  | 1934 |  | 68 |  | 48 | R | 1945-01-01 | 1 | 1 | IPm | A | C/W | D, S | Base of Qe 20+/- feet.
7 | N | 7 | E | 19.412 | Goodner Estate | [5 empty] | 165 | R | 1940-01-01 | 1 | 1 | IPm | A | C/W | S
7 | N | 7 | E | 20.134 | Goodner Estate |  |  |  | 180 | [6 empty] | IPm | A | C/W | D
7 | N | 7 | E | 22.121 | D. F. Brinkley |  |  |  | 168 |  | 72.6 |  | 1963-10-31 |  |  | IPm |  | N | N
7 | N | 7 | E | 23.112 | D. F. Brinkley | X |  |  | 200 |  | 119.9 |  | 1950-05-11 |  |  | IPm | A | C/W | S
7 | N | 7 | E | 24.434 | [6 empty] | 136.8 |  | 1964-10-27 |  |  | IPm |  | C/W | S | Windmill disconnected when visited.
7 | N | 7 | E | 29.341 | R. Garland | X | 1930 | 5 | 245 | M | 229.8 |  | 1963-11-14 |  |  | IPm |  | C/W | S | Well 7.7.29.343 in Smith (1957). | "1930?" Year Completed
7 | N | 7 | E | [7 empty] | 236.6 |  | 1950-02-03
7 | N | 7 | E | 34.144 |  |  |  |  | 93 | M | 66.7 |  | 1950-05-11 |  |  | IPm |  | C/W | S
7 | N | 7 | E | 36.323 | J. B. Milbourn |  | 1946 |  | 285 |  | 139 |  | 1964-10-26 |  |  | IPm, Qe? | I | S/E | D | Deepened from 130 (in Qe?) in 1963, no improvement in yield.
7 | N | 7 | E | 36.324 | J. B. Milbourn |  |  |  | 110 | [6 empty] | Qe |  | C/W | S | Reported small but reliable yield.
7 | N | 8 | E | 6.212 | E. Hunt | [5 empty] | 150.2 |  | 1964-03-05 |  |  | IPm |  | T/I | Ir, O
7 | N | 8 | E | 6.224 | J. H. Hunt |  |  |  | 97 |  | 80 |  | 1950-02-23 |  |  | IPm? |  | C/W | D, S
7 | N | 8 | E | 7.121 | C. T. Norman |  |  | 12 | 200 |  | 77.2 |  | 1950-02-10 |  |  | IPm |  |  | N | Destroyed about 1951.
7 | N | 8 | E | 7.333 |  |  |  | 8 |  |  | 40.1 |  | 1963-10-30 |  |  | IPm? |  | C/W | S
7 | N | 8 | E | 8.311 |  |  |  | 6 |  |  | 122.7 |  | 1964-10-27 |  |  | IPm |  | N | N
7 | N | 8 | E | [7 empty] | 109.2 |  | 1948-05-19
7 | N | 8 | E | 19.422 | B. Grimes |  | 1948 | 12 | 400 |  | 131.1 |  | 1949-02-16 |  |  | IPm |  |  | N | Plugged about 1951.
7 | N | 8 | E | 31.333 |  |  |  |  | 131 | M | 116.8 |  | 1950-05-09 |  |  | IPm, Qe? |  | C/W | S
8 | N | 6 | E | 4.213 | Glenn Mackie |  | 1958 | 6 | 278 |  | 144 | R |  |  |  | IPm | A | C/W | D, S | Top of producing zone 275 feet; uncased.
8 | N | 6 | E | 10.241 | Ross |  |  | 4 | 350 |  | 264.2 | P | 1963-09-26 |  |  | IPm | A | C/E | D | Pumped shortly before measured.
8 | N | 6 | E | 10.244 | Grace Simpson |  | 1963 | 11 | 256 |  | 189.1 |  | 1963-09-26 |  |  | IPm |  | N | D | New, equipped when visited.
8 | N | 6 | E | 10.311 | Frank Norris |  |  |  | 311 | [6 empty] | IPm |  | C/W | D, S
8 | N | 6 | E | 10.314 | Frank Norris |  |  |  | 314 | [6 empty] | IPm |  | C/W | S | Yield reported good.
8 | N | 6 | E | 11.223 |  |  |  | 6 |  |  | 109.3 |  | 1963-09-26 |  |  | IPm |  | C/W | S | Windmill disconnected when visited.
8 | N | 6 | E | 12.444 | T. J. Loyd |  |  | 24 | 40 |  | 22.2 |  | 1949-12-16 |  |  | IPm |  | N | N | Dug well; 8.6.12.444 in Smith (1957).
8 | N | 6 | E | 12.444a | T. J. Loyd |  | 1934 | 8 | 160 |  | 40 | R |  |  |  | IPm |  | C/W | D, S | In 1949 would pump dry in 2 hours.
8 | N | 6 | E | 14.131 |  |  |  |  | 180 | [6 empty] | IPm
8 | N | 6 | E | 14.311 | Community of Escabosa |  |  | 48 | 31.5 | M | 22.9 |  | 1963-09-26 |  |  | IPm | A | B/H | D, S | Dug well; used by few families.
8 | N | 6 | E | 15.222 |  |  |  |  | 54 | [6 empty] | IPm |  |  | D
8 | N | 6 | E | 15.224 | Aragon |  |  |  | 57 |  | 26.4 |  | 1950-01-17 |  |  | IPm | A | C/W | D | Well 8.6.15.221 in Smith (1957).
8 | N | 6 | E | 15.224a |  |  |  |  | 30 | [6 empty] | IPm |  |  | D | Dug well.
8 | N | 6 | E | 23.2 |  |  |  |  | 200 | [6 empty] | IPm | N | N | N | Dry hole.
8 | N | 6 | E | 32.342 |  | X |  | 8 |  |  | 18.7 |  | 1963-10-02 |  |  | IPm |  | C/W | S
8 | N | 6 | E | 35.444 |  |  | 1962 |  |  |  | 4 | E | 1963-10-02 |  |  | Qal, IPm? |  | C/H | D | Several cabins with shallow wells and outhouses in vicinity.
8 | N | 6 | E | [7 empty] | 25.7 |  | 1949-12-15
8 | N | 6 | E | 36.333 |  |  | 1948 | 6 | 65 |  | 23.4 |  | 1963-10-02 |  |  | IPm | A | C/W | D, S | Well 8.6.36.313 in Smith (1957).
8 | N | 7 | E | 8.342 |  |  | 1945 | 5 | 195 |  | 135 | P | 1950-01-18 |  |  | IPm |  | C/I | S | Pumping when measured; well 8.7.8.341 in Smith (1957).
8 | N | 7 | E | [7 empty] | 75.2 |  | 1950-01-18
8 | N | 7 | E | 9.123 | [6 empty] | 49.8 |  | 1963-09-27 |  |  | IPm |  | C/W | S | Windmill disconnected; well 8.7.9.142 in Smith (1957).
8 | N | 7 | E | 11.214 |  |  |  | 6 | 106 |  | 93.6 |  | 1949-12-15 |  |  | IPm |  | C/W | S | Well 8.7.2.443 in Smith (1957); not in used Oct. 1963.
8 | N | 7 | E | 12.224 | Ross Thompson |  |  |  | 217 | [6 empty] | IPm | 6(-) | C/I | S
8 | N | 7 | E | 13.221 | Ross Thompson |  |  |  | 100 |  | 86 | R |  |  |  | IPm | 6 | C/- | S
8 | N | 7 | E | 13.321 |  |  |  | 5 | 220 |  | 87.5 | P | 1963-10-03 |  |  | IPm | A | C/W | S | Pumped shortly before measured.
8 | N | 7 | E | 13.423 | W. C. Riggs |  |  |  | 290 | [6 empty] | IPm | 4 | C/W | S | Driller reports soft material; fault zone.
8 | N | 7 | E | 13.423a | W. C. Riggs |  |  |  | 295 |  | 45 | R | 1958-01-01 | 1 | 1 | IPm | 4 | "-/E" | D | Top of producing zone 287 feet; driller reports hard rock. | "1958(?)" Water level Date
8 | N | 7 | E | 22.143 | Candelario Griego |  | 1935 |  | 500 | + | [5 empty] | IPm | N | N | N | Dry hole; reportedly used as latrine for many years. | "1935?" Year Completed
8 | N | 7 | E | 22.332 | Francisco Gutierrez |  | 1929 |  | 150 |  | 46.5 |  | 1949-12-16 |  |  | IPm | A | C/W | D, S | Uncased; not in use 1963; well 8.7.22.320 in Smith (1957).
8 | N | 7 | E | 23.312 | Francisco Gutierrez |  |  | 8 | 86 | M | 77 |  | 1963-10-03 |  |  | IPm |  | C/W | S
8 | N | 7 | E | 23.324 | Augustin |  |  |  | 100 | ?M | 76.6 |  | 1949-12-16 |  |  | IPm |  | C/W | D, S | Well 8.7.23.144 in Smith (1957).
8 | N | 7 | E | 27.433 |  |  |  |  | 200 | M | 153.6 |  | 1949-12-16 |  |  | IPm
8 | N | 7 | E | 29.312 |  |  |  |  | 350 | [6 empty] | IPm | A | C/W | D
8 | N | 7 | E | 29.314 | Ben Mora |  |  | 6 | 180 |  | 36.3 |  | 1963-09-26 |  |  | IPm | A | C/W | D
8 | N | 7 | E | [7 empty] | 41.7 |  | 1949-12-16
8 | N | 7 | E | 29.323 | E. A. Dow | X | 1948 | 6 | 86 |  | 36.8 |  | 1963-09-27 |  |  | IPm |  | C/W | N | Well 8.7.29.322 in Smith (1957).
8 | N | 7 | E | 29.341 | Community of Chilili |  | 1953 |  | 150 | [6 empty] | IPm | A | "-/E" | Ps
8 | N | 7 | E | 31.334 | [11 empty] | IPm | 1-5E | C/W | S
8 | N | 7 | E | 35.433 | Homer Voss |  | 1932 |  | 150 | ? | 126.9 |  | 1950-05-12 |  |  | IPm |  | C/W | D, S | Well 8.7.35.344 in Smith (1957). | "1932?" Year Completed
8 | N | 8 | E | 6.114 |  |  |  | 6 | 136 | [6 empty] | IPm | N | N | N | Filled with rocks.
8 | N | 8 | E | 18.413 | [6 empty] | 189.5 | P | 1964-10-27 |  |  | IPm |  | C/W | S | Pumped shortly before measured.
8 | N | 8 | E | 19.121 |  |  |  |  | 214 | M | 140.2 |  | 1950-02-24 |  |  | IPm |  | C/W |  | Well 8.8.19.112 in Smith (1957).
8 | N | 8 | E | 19.211 | [6 empty] | 93.3 |  | 1964-10-27 |  |  | IPm |  | C/W | S
9 | N | 4 | E | 35.1 | Military Reservation | X |  | 2 | 21 | R | 21 | R | 1944-01-01 | 1 | 1 | Qal |  |  |  | Potability problem. | "1944?" Water level Date
9 | N | 5 | E | 12.232 |  |  | 1960 |  | 98 | [6 empty] | IPm | A |  | D | Top of producing zone 80 feet.
9 | N | 5 | E | 12.422 | Augustin Griego |  | 1900 | 50 | 35 |  | 18.4 |  | 1960-11-25 |  |  | IPm | A | B/H | D, S | Dug well.
9 | N | 6 | E | 2.123 | Haddon |  |  | 96 | 35 |  | 25 | R |  |  |  | IPm | A |  | S | Dug well.
9 | N | 6 | E | 3.242 |  |  |  | 48 |  |  | 23.7 |  | 1962-11-08 |  |  | IPm |  | N | N | Dug well.
9 | N | 6 | E | 5.333 | [6 empty] | 23.7 |  |  |  |  | IPm | N | N | N | Dry hole.
9 | N | 6 | E | 6.144 |  |  |  | 60 | 30 | "+/-M" |  |  | 1955-07-15 |  |  | Ipm, Qal? | N | N | N | Dug well. | "Dry" Water level Depth
9 | N | 6 | E | [7 empty] | 9.9 |  | 1962-11-08
9 | N | 6 | E | 7.411 | Thunderbird Mtn. Estates |  | 1960 | 5 | 120 | M | 68.4 |  | 1960-11-22 |  |  | IPm |  | S/E | D
9 | N | 6 | E | 9.222 |  |  |  | 48 | 38 | M | 28.9 |  | 1950-02-01 |  |  | IPm |  | N | N | Dug well; well 9.6.9.224 in Smith (1957).
9 | N | 6 | E | [7 empty] | 34.4 |  | 1955-07-15
9 | N | 6 | E | [7 empty] | 29.6 |  | 1962-11-08
9 | N | 6 | E | 10.112 | H. E. Harling |  | 1965 | 6 | 180 | [6 empty] | IPm | "4-6" | C/W | D
9 | N | 6 | E | 12.332 | Everett Loyd | X | 1959 | 6 | 186 |  | 159 | "+/-" | 1962-11-14 |  |  | IPm | 5-7E | C/W | S
9 | N | 6 | E | 13.333 | G. B. Loyd |  |  | 8 | 270 | M | 154.2 |  | 1950-01-23 |  |  | IPm | N | N | N | Caved at 130 feet, abandoned prior to 1963; well 9.6.23.222 in Smith (1957).
9 | N | 6 | E | 18.343 | Campfire Girls |  | 1961 |  | 530 | [6 empty] | IPm | N | N | N | Dry hole.
9 | N | 6 | E | 19.341 |  |  | 1960 |  | 400 | + | [5 empty] | IPm | N | N | N | Dry hole. | "1960?" Year Completed
9 | N | 6 | E | 19.343 |  |  |  | 4 | 138 |  | 122.7 |  | 1960-12-05 |  |  | IPm |  | N | N
9 | N | 6 | E | 19.343a |  |  | 1959 | [8 empty] | IPm |  | S/E | D |  | "1959?" Year Completed
9 | N | 6 | E | 19.432 | Harbert |  | 1960 | 6 | 136 | M | 114.6 |  | 1960-12-05 |  |  | IPm |  | S/E | D |  | "1960?" Year Completed
9 | N | 6 | E | 21.213 | A. S. Anaya |  | 1947 | 6 | 296 |  | 177 |  | 1950-01-23 |  |  | IPm | A | J/E | D | Top of producing zone 120 feet; drilled into cavern at bottom; well 9.6.21.230 in Smith (1957).
9 | N | 6 | E | [7 empty] | 66 | "+/-" | 1960-11-25
9 | N | 6 | E | 21.221 | Arthur French |  |  |  | 240 | [6 empty] | IPm |  |  | D
9 | N | 6 | E | 21.311 | Rhed Garrett |  |  |  | 58 |  | 56 | R | 1960-11-25 |  |  | IPm |  |  | S | Dug well.
9 | N | 6 | E | 21.422 | Rhed Garrett |  |  |  | 62 |  | 40 | R |  |  |  | IPm | "1-10" | C/E | S | Dug well.
9 | N | 6 | E | 22.434 | Jan Eisengard |  | 1930 | 5 | 200 | + | 77 |  | 1960-11-25 |  |  | IPm |  | C/E | D, S |  | "1930+/-" Year Completed
9 | N | 6 | E | 23.343 |  | X |  |  | 73 | M | 56.2 | P | 1960-11-25 |  |  | IPm | 1E | C/W | S | Dug well; pumping slowly when measured.
9 | N | 6 | E | 25.113 | C. W. Johnson |  |  | 6 | 120 |  | 63.2 |  | 1960-11-25 |  |  | IPm |  | C/N | N
9 | N | 6 | E | 25.134 |  |  |  | 5 |  |  | 87.2 |  | 1960-11-25 |  |  | IPm |  | N | N
9 | N | 6 | E | 25.334 |  |  | 1920 |  | 25 |  | 10.9 |  | 1950-01-17 |  |  | IPm | A | C/W | S | Dug well; seeps in arroyo nearby. | "1920?" Year Completed
9 | N | 6 | E | [7 empty] | 8.2 |  | 1960-12-21 |  |  | IPm
9 | N | 6 | E | 25.414 | Mrs. Alley |  | 1939 |  | 180 |  | 143 |  | 1963-02-26 |  |  | IPm | A | C/E | D, S
9 | N | 6 | E | 26.244 | Mrs. Romero | X |  |  | 103 | [6 empty] | IPm | 3E | C/W | S
9 | N | 6 | E | 26.333 | R. N. Hise | X |  | 4 | 160 |  | 50 | R | 1959-01-01 | 1 | 1 | IPm | A | C/E | D
9 | N | 6 | E | 27.221 | [6 empty] | 65 | + | 1960-11-25 |  |  | IPm |  | C/W | S
9 | N | 6 | E | 29.112 | Cowan |  | 1959 |  | 190 | [6 empty] | IPm | 10 |  | D | Another hole 30 feet away, similar depth, dry. | "1959?" Year Completed
9 | N | 6 | E | 29.123 | A. A. Arrington |  | 1959 | 4 | 115 |  | 66 | R | 1959-01-01 | 1 | 1 | IPm | 22 | S/E | D
9 | N | 6 | E | 29.141 | E. J. Slemmer |  | 1959 | 6 | 345 |  | 235.4 |  | 1960-12-22 |  |  | IPm | 2 | S/E | D | Uncased hole.
9 | N | 6 | E | 29.142 | Earl Hovenden | X | 1957 |  | 315 |  | 245.3 |  | 1960-10-07 |  |  | IPm | "6-7" | J/E | Com. D | Top of producing zone 280 feet; uncased hole; café and gas station.
9 | N | 6 | E | 29.143 | Lincoln |  | 1959 |  | 300 |  | 210 | R |  |  |  | IPm |  |  | D |  | "1959?" Year Completed
9 | N | 6 | E | 29.312 | Byrne |  | 1953 |  | 226 | [6 empty] | IPm | 5 | "-/E" | D
9 | N | 6 | E | 29.313 | R. L. Carmichael |  | 1952 | 6 | 285 | [6 empty] | IPm | A | C/E | D | Reported sometimes turbid after rain.
9 | N | 6 | E | 29.314 | Keith |  | 1952 |  | 227 | [6 empty] | IPm |  | C/E | D, S
9 | N | 6 | E | 29.441 | Elks Club |  | 1959 |  | 199 |  | 140 | R |  |  |  | IPm | A | C/W | Ps
9 | N | 6 | E | 30.122 | William Jones |  |  | 5 | 210 |  | 127.9 |  | 1960-12-05 |  |  | IPm | 5(-) | S/E | D
9 | N | 6 | E | 30.213 | E. D. Sweenhart |  | 1960 |  | 200 |  | 130 | R | 1960-01-01 | 1 | 1 | IPm | 20 | S/E | D | Reported pumped dry by 1963; drilled new well.
9 | N | 6 | E | 30.321 |  |  |  | 4 |  |  | 86.3 |  | 1960-12-05 |  |  | IPm |  | S/E | D?
9 | N | 6 | E | 32.223 | Donald Belmore |  | 1963 | 8 | 435 |  | 212.2 |  | 1963-09-25 |  |  | IPm | N | N | N | Dry hole.
9 | N | 6 | E | 34.142 | Manuel Gutierrez |  | 1900 |  | 53 | M | 43.2 |  | 1950-01-17 |  |  | IPm |  | C/W | S | Dug well. | "1900?" Year Completed
9 | N | 6 | E | 34.242 |  |  |  |  | 42 |  | 40 | R | 1960-01-01 | 1 | 1 | IPm |  | B/H | D | Dug well.
9 | N | 7 | E | 2.342 | Vigil Brothers |  | 1913 | 6 | 172 |  | 125.6 | P | 1950-05-03 |  |  | IPm | A | C/W | D, S | Pumping when measured; pumping continually.
9 | N | 7 | E | 2.421 |  |  |  | 6 | 76 | M | 61.5 |  | 1963-10-04 |  |  | IPm |  | N | D
9 | N | 7 | E | 2.431 | Andres Martinez |  |  |  | 140 | [6 empty] | IPm | A | C/W | D
9 | N | 7 | E | 7.331 | G. B. Loyd |  | 1926 | 8 | 428 |  | 393 | R | 1962-01-01 | 1 | 1 | IPm | A | C/W | D, S | Uncased; reported limestone top to bottom; produces from 3-inch "vein" at bottom.
9 | N | 7 | E | 7.424 | G. B. Loyd |  |  |  | 86 | M | 72.5 |  | 1962-11-14 |  |  | IPm | I | C/W | S | Drilled in fault gouge?;windmill pumps dry in 3 hours.
9 | N | 7 | E | 9.244 | Pete Muller |  | 1958 |  | 215 | [6 empty] | IPm | A | C/E | D | Reported easy to get water this vicinity.
9 | N | 7 | E | 15.132 | Muller |  | 1916 | 48 | 48 |  | 19.4 |  | 1963-10-04 |  |  | Ipm, Qal |  | C/H | D | Dug well; well 9.7.15.113 in Smith (1957); drilled well 50 feet away, 191 feet deep. | "1916?" Year Completed
9 | N | 7 | E | [7 empty] | 47.1 |  | 1950-05-03
9 | N | 7 | E | 17.232 | G. B. Loyd |  | 1960 | 4.5 | 465 |  | 77.4 |  | 1962-11-14 |  |  | IPm | A | C/I? | S | Not in use when visited.
9 | N | 7 | E | 24.113 | C. W. Dunn |  |  |  | 200 |  | 140 | R | 1950-01-01 | 1 | 1 | IPm | A | C/W | D, S | Pumping slowly when measure; uncased.
9 | N | 7 | E | [7 empty] | 164 | P | 1964-10-27
9 | N | 7 | E | 30.1 | W. E. Meahl |  | 1961 |  | 400 | [6 empty] | IPm | N | N | N | Dry hole. | "30.100?" Location
9 | N | 7 | E | 31.131 | Manzano Springs Estates |  | 1959 |  | 115 | [6 empty] | IPm | 40 | "-/E" | Ps | Top of producing zone 82 feet.
9 | N | 7 | E | 32.132 | Paul Dannevic | [5 empty] | 25.2 |  | 1963-10-16 |  |  | IPm |  | C/E | D, S
9 | N | 7 | E | 35.113 |  |  |  |  | 88 | M | 71.6 |  | 1950-04-03 |  |  | IPm |  |  |  | Not in use when visited in 1950.
9 | N | 7 | E | 36.414 |  |  |  |  | 132 |  | 102.6 |  | 1950-02-03 |  |  | IPm |  |  | D, S | Uncased below surface pipe.
9 | N | 8 | E | 7.143 | C. T. Butler |  |  |  | 90 | + | [5 empty] | IPm |  |  | D, S
9 | N | 8 | E | 7.314 | C. T. Butler |  |  |  | 100 |  | 64.7 |  | 1964-10-27 |  |  | IPm |  |  | N | Dry hole.
9 | N | 8 | E | 7.314a | C. T. Butler |  |  |  | 100 |  |  |  | 1964-10-27 |  |  | IPm |  |  | N | Dry hole. | "Dry" Water level Depth
10 | N | 4 | E | 13.212 | U.S. Forest Service? |  |  | 8 | 41 | M |  |  | 1961-12-29 |  |  | Qal | N | N | N | Hole doesn't reach saturated zone. | "Dry" Water level Depth
10 | N | 4 | E | 25.314 | Paradise Supper Club |  | 1955 | [8 empty] | Qal | 50+E | N | Fish- ponds | Dug infiltration gallery; horizontal perforated pipe buried in alluvium of stream channel. | "few" Well depth
10 | N | 4 | E | 25.414 | R. Garcia | [5 empty] | 34.9 |  | 1960-10-21 |  |  | Qal |  | N | N | 25 feet from used domestic well.
10 | N | 4 | E | 25.431 | Alfredo Garcia | X |  |  |  |  | 1 |  | 1962-06-05 |  |  | Qal | A | J/E | D | Dug well in arroyo channel. Supplies three families.
10 | N | 4 | E | 25.433 |  |  | 1951 |  | 98 |  | 75 | R | 1960-01-01 | 1 | 1 | Qal | A | "-/E" | D | Supplies two families.
10 | N | 4 | E | 36.124 | C. H. Carder | X | 1960 | 8 | 500 |  | 70.9 |  | 1960-10-21 |  |  | Qal, pE | 16 | S/E | D, S | Base of alluvium 100+/- feet deepest water-yielding fractures in granite 240+/- feet; potability problem.
10 | N | 4.5 | E | 24.344 | F. C. Fach (#2) | X | 1952 | 8 | 100 |  | 55.5 |  | 1960-10-21 |  |  | Qal | 10E | J/E | Ps | 50 feet downslope from bulldozed water catchment and infiltration pit.
10 | N | 4.5 | E | 24.344a | F. C. Fach (#3) | X | 1962 | 6 | 110 |  | 48 | R | 1962-01-01 | 1 | 1 | Qal, pE | 7 | S/E | Ps | 120 feet NW of 10.4 1/2.24.344; base Qal reported 65 feet.
10 | N | 4.5 | E | 25.124 | F. C. Fach (#1) | X | 1946 | 8 | 100 |  | 45.8 | P | 1960-10-21 |  |  | pE | A | J/E | Ps | Pumped recently; base of Qal reported 26+/- feet; potability problem.
10 | N | 4.5 | E | 25.142 | F. C. Fach (#4) | X | 1962 | 6 | 91 |  | 64.2 |  | 1962-09-13 |  |  | Qal, pE? | 15M | S/E | Ps | Base of Qal reported 80 feet; potability problem.
10 | N | 4.5 | E | 25.144 | G. J. Torres |  | 1950 |  | 80 | [6 empty] | Qal | A | "-/E" | D
10 | N | 4.5 | E | 25.234 | Antonio Salazar | X | 1956 |  | 80 |  | 50 | R |  |  |  | Qal | A | "-/E" | D | Potability problem.
10 | N | 4.5 | E | 25.244 | Henry Garcia |  | 1961 | 6 | 63 |  | 40 | R | 1961-02-15 |  |  | Qal | 50 | S/E | D
10 | N | 5 | E | 1.122 | Sierra Vista Estates |  | 1961 | 6.5 | 500 | "+M" | 351.1 |  | 1962-07-26 |  |  | Kmv | 0.5 | N | N | Drilled for Ps, inadequate.
10 | N | 5 | E | 2.144 | Sierra Vista Estates |  |  |  | 125 | [6 empty] | ʀs | 23 | S/E | Ps | Reported initially hard artesian flow; water exported to Mesaverde terraine. (Data from State Engineer Office).
10 | N | 5 | E | 2.222 | A. H. Moss |  | 1956 | 6 | 45 |  | 41.7 |  | 1962-07-26 |  |  | Km | 0.25 | N | N | Inadequate for domestic
10 | N | 5 | E | 2.222a | A. H. Moss |  | 1962 |  | 260 |  | 34.1 |  | 1962-07-26 |  |  | Km | 0.25 | N | N | Inadequate for domestic supply; 8 feet from well 10.5.2.222.
10 | N | 5 | E | 2.222b | A. H. Moss |  |  |  | 70 | [6 empty] | Jm | 15 | S/E | D | Yield reported decreasing.
10 | N | 5 | E | 2.223 | O. L. Howard |  | 1962 |  | 100 | [6 empty] | ʀc? | 25 | S/E | D | Top of producing zone 70 feet.
10 | N | 5 | E | 2.232 | Rhoads |  | 1950 |  | 160 | [6 empty] | ʀc | A | J/E | D | Top of producing zone 160 feet; reported flowed for 2 1/2 years after drilled.
10 | N | 5 | E | 2.242 | Sierra Vista Estates | X | 1961 | 7 | 186 |  | 147.4 |  | 1962-07-12 |  |  | Kmv | 35 | S/E | Ps | Top of producing zone 161 feet; potability problem.
10 | N | 5 | E | 2.341 | Flatow, Moore, Bryan, Fairburn |  | 1954 |  | 132 |  | 18 | R | 1955-01-01 | 1 | 1 | ʀc |  | C/I | Ps | Use 6,000+/- gal/day.
10 | N | 5 | E | 2.344 | Flatow, Moore, Bryan, Fairburn |  | 1954 |  | 900 | [6 empty] | Km | N | N | N | Dry hole; deepest of 6 dry holes in Km in vicinity.
10 | N | 5 | E | 2.413 | Unger |  | 1960 | 6 | 180 |  | 143.4 |  | 1962-07-20 |  |  | ʀc ʀs? |  | C/W | D | Barely adequate.
10 | N | 5 | E | 2.433 | R. J. Smith | X | 1928 |  | 42 | [6 empty] | Qal | A | T/E | Ps, Com. | Dug well; supplies restaurant, 2 to 3 houses.
10 | N | 5 | E | 2.434 | R. J. Smith |  | 1928 | 72 | 35 | E | 17.5 |  | 1962-08-02 |  |  | Qal | A | Ce/E | Ps, Com. | Dug well. Supplements well 10.5.2.433; reported better producer.
10 | N | 5 | E | 10.223 |  |  | 1960 | 6 | 115 | M | 86.9 |  | 1962-07-24 |  |  | Pg? |  | N | N | Domestic well not in use 1962. | "1960?" Year Completed
10 | N | 5 | E | 10.241 |  |  | 1960 | 6 | 110 | + | 110 | + | 1962-07-24 |  |  | Ps? |  | N | N | Dry at 110 feet, couldn't measure deeper. | "1960?" Year Completed
10 | N | 5 | E | 10.242 | C. C. Tolbert |  | 1939 | 5 | 56 | + | 39.5 |  | 1962-07-26 |  |  | Ps | A | S/E | D
10 | N | 5 | E | 10.424 | C. H. Maak |  | 1954 | 6 | 160 |  | 47.9 |  | 1962-08-03 |  |  | ʀs | A | J/E | D | Top of producing zone 100 feet.
10 | N | 5 | E | 11.124 | H. C. Black |  |  | 6 | [7 empty] | Km | A | S/E | D | Supplies 2 houses; water reported hard, iron stains.
10 | N | 5 | E | 11.131 | Bill Huff |  |  |  | 75 | [6 empty] | Qal | A |  | D |  | "75-90" Well depth
10 | N | 5 | E | 11.132 | Urquhart |  | 1953 | 6 | 65 |  | 2.2 |  | 1962-07-26 |  |  | Qal, ʀϲ? | A | J/E | D | Supplies 2 houses.
10 | N | 5 | E | 11.211 | Robert O'Connell | X | 1956 |  | 156 |  | 116 | R | 1956-01-01 | 1 | 1 | Km | A | S/E | D | Potability problem, reported hard, iron stains.
10 | N | 5 | E | 11.213 | Wiebe |  | 1940 |  | 70 |  | 35 | R |  |  |  | Km | I | J/E | Com. | Restaurant; not quite adequate; water reported hard.
10 | N | 5 | E | 11.231 | Wiebe | X |  |  | 90 |  | 40.1 |  | 1962-07-24 |  |  | Km | A | J/E | D
10 | N | 5 | E | 11.233 | V. A. Anderson |  |  |  | 25 |  | 19.9 |  | 1962-08-02 |  |  | Qal | A | C/W | S | Dug well.
10 | N | 5 | E | 11.234 | V. A. Anderson |  | 1954 | 4 | 38 |  | 28.7 |  | 1962-08-02 |  |  | Qal | A | J/E | D | Supplies 2 houses.
10 | N | 5 | E | 11.313 | C. Boggus |  | 1952 | 48 | 20 |  | 5 | E | 1962-08-03 |  |  | Qal, ʀϲ? | A | "-/E" | D, S | Dug well; supplies several families.
10 | N | 5 | E | 11.323 | W. E. Schaub |  | 1962 | 8 | 100 |  | 33.9 |  | 1962-08-03 |  |  | Km |  | S/E | Com. | Laundromat.
10 | N | 5 | E | 11.343 | Ralph Bruner | X | 1952 | 6 | 55 |  | 28 | R | 1952-01-01 | 1 | 1 | Qal | 30 |  | D | Water level reportedly fluctuates 12 feet annually.
10 | N | 5 | E | 11.413 | P. R. Jasler |  |  |  | 30 | [6 empty] | Qal |  | C/W |  | Dug well; reportedly dry each July, water level rises in winter.
10 | N | 5 | E | 11.413a | P. R. Jasler |  | 1955 |  | 80 | [6 empty] | Qal | A | J/E | D | 15+/- feet from well 10.5.11.413.
10 | N | 5 | E | 11.424 |  |  |  |  | 30 |  | 27.9 |  | 1963-02-19 |  |  | Qal |  | N | S? | Dug well.
10 | N | 5 | E | 11.431 | Paul Souder | X | 1950 |  | 125 |  | 90 | R | 1959-01-01 | 1 | 1 | Kmv | A | J/E | D | Potability problem. | "1950?" Year Completed
10 | N | 5 | E | 11.433 |  |  |  | 48 | 21 | M | 18.4 |  | 1961-02-15 |  |  | Qal |  | C/W | S | Dug well; near 20-feet deep arroyo.
10 | N | 5 | E | 11.444 |  |  |  |  | 25 |  | 23 | R |  |  |  | Qal |  |  | D | Dug well.
10 | N | 5 | E | 12.121 | H. T. Rice |  | 1960 | 4 | 320 |  | 176.7 |  | 1961-02-15 |  |  | Km |  | S/E | D | Planned for 2 or more houses; sulfide odor.
10 | N | 5 | E | 12.122 | D. M. Bush | X | 1962 | 6 | 140 |  | 96.4 |  | 1962-06-05 |  |  | Km | 5+ | S/E | D | Top of producing zone 118 feet; sulfide odor; potability problem.
10 | N | 5 | E | 12.233 |  |  | 1962 |  | 400 | [6 empty] | Km | A | S/E | D | Top of producing zone 120 feet; sulfide odor.
10 | N | 5 | E | 12.412 | Alan Gruer |  | 1958 |  | 156 |  | 82.8 |  | 1961-02-15 |  |  | Km | A | S/E | D | On or near fault between Km and Ps; water murky.
10 | N | 5 | E | 12.444 | Adamek |  |  |  | 120 | [6 empty] | Pa |  | S/E | D
10 | N | 5 | E | 12.444a | Humphry |  | 1961 | 4 | 120 |  | 75.6 |  | 1962-05-15 |  |  | Pa | A | S/E | D
10 | N | 5 | E | 14.324 | Paul Switzer | X | 1956 |  | 170 |  | 144.4 |  | 1962-08-03 |  |  | Pa | A | S/E | D, S
10 | N | 5 | E | 14.334 | Arthur Wilson |  | 1957 |  | 150 | [6 empty] | Pa | A | J/E | D
10 | N | 5 | E | 15.223 | Charles Hobby |  | 1960 | 6 | 118 |  | 12 | R | 1962-01-01 | 1 | 1 | ʀs |  | N | Ps | Main producing zone at bottom; emergency supply, trailer court. | "1960?" Year Completed
10 | N | 5 | E | 15.432 | V. A. Knott |  | 1960 | 6 | 200 |  | 152.2 |  | 1962-06-12 |  |  | Km |  | N | Ps? | Community underdeveloped when visited; near fault between Km and Pa.
10 | N | 5 | E | 15.433 | W. Meahl |  | 1962 | 8 | 232 |  | 89.8 |  | 1962-06-12 |  |  | Pa | "3-4" | N | N | Top of producing zone 108 feet.
10 | N | 5 | E | 15.433a | W. Meahl |  | 1962 | 5.5 | 250 |  | 95 |  | 1962-06-12 |  |  | Pa | "6-8" | "-/E" | D | Top of producing zone 218 feet; 50+/- feet from well 10.5.15.433.
10 | N | 5 | E | 19.321 | G. R. Troyer |  | 1960 |  | 105 | [6 empty] | Qal | 7 | J/E | D | Top of producing zone 95 feet.
10 | N | 5 | E | 19.324 | F. S. Leib | X | 1960 | 6 | 146 |  | 49.8 |  | 1962-06-13 |  |  | Qal | 13 | T/E | D
10 | N | 5 | E | 19.341 | C. W. Dickenson |  | 1954 |  | 102 | [6 empty] | Qal | A | "-/E" | D | Top of producing zone 65 feet.
10 | N | 5 | E | 22.141 | Fidos Bar |  | 1961 |  | 72 |  | 32 | R | 1961-01-01 | 1 | 1 | Pa? | 25 | S/E | Com.
10 | N | 5 | E | 22.212 | E. O. Trumper |  | 1961 | 6 | 117 | M | 86.2 |  | 1962-06-12 |  |  | Pa |  | N | Ps | Community underdeveloped when visited.
10 | N | 5 | E | 22.344 | Ideal Cement Co. #1 | X | 1957 |  | 1100 |  |  |  | 1957-01-01 | 1 | 1 | IPm | 35 | T/E | Com. | Top of producing zone 450 feet; flowed until frequent pupming started; potability problem. | "Artesian" Water Level Depth
10 | N | 5 | E | 22.433 | Ideal Cement Co. #2 |  | 1957 |  | 1100 |  |  |  | 1963-01-01 | 1 | 1 | IPm | 65 | T/E | Com. | Top of producing zone 500 feet; would flow in 1963 when not pumped or sealed. | "Artesian" Water Level Depth
10 | N | 5 | E | 22.424 | Chuck Schilling |  | 1959 |  | 79 |  | 60 | R | 1959-01-01 | 1 | 1 | Pa? | 40 |  | D
10 | N | 5 | E | 22.424a | R. L. Miller |  | 1946 | 8 | 63 |  | 39 |  | 1963-03-12 |  |  | Qal | A | J/E | D
10 | N | 5 | E | 23.121 | Dugan Guest |  | 1959 |  | 75 |  | 30.4 |  | 1961-02-15 |  |  | Pa |  | S/E | D
10 | N | 5 | E | 23.222 | P. T. Bolling | X | 1962 |  | 180 | [6 empty] | Pa | 18 | S/E | D
10 | N | 5 | E | 23.224 | J. N. Yearout |  | 1953 |  | 131 | [6 empty] | Pa? | A | "-/E" | D | Use includes swimming pool.
10 | N | 5 | E | 23.322 | Max Martinez |  | 1961 | 6 | 97 | [6 empty] | IPm | A | S/E | D | Top of producing zone 80 feet.
10 | N | 5 | E | 26.311 |  |  | 1956 |  | 125 | [6 empty] | IPm | A |  | D | Top of producing zone75 feet.
10 | N | 5 | E | 26.311a | Milton Nance |  | 1949 |  | 119 |  | 99.2 |  | 1963-03-12 |  |  | IPm | A | S/E | D, S
10 | N | 5 | E | 26.313 | Robert Daugherty |  | 1952 |  | 146 | [6 empty] | IPm | A | S/E | D | Deepened from 90 feet in 1956.
10 | N | 5 | E | 26.313a | David Judd |  | 1956 |  | 300 | [6 empty] | IPm |  |  | D
10 | N | 5 | E | 26.314 | J. L. Pollack | X | 1951 | 8 | 96 |  | 30.8 |  | 1963-03-12 |  |  | IPm | A | J/E | D
10 | N | 5 | E | 30.124 | P. W. Smith |  | 1947 |  | 65 |  | 30 | R |  |  |  | Qal
10 | N | 5 | E | 30.124a | P. W. Smith |  | 1955 |  | 105 | [6 empty] | Qal | A | S/E | D
10 | N | 5 | E | 30.213 | Norris | X |  | 6 |  |  | 66.8 |  | 1962-06-13 |  |  | Qal | A | T/E | D
10 | N | 5 | E | 30.224 | Garcia |  | 1948 |  | 56 |  | 39.1 |  | 1962-06-13 |  |  | Qal | A | T/E | D | Will pump dry in about 2 hours.
10 | N | 5 | E | 30.324 | Bill Dickson | X | 1935 |  | 26 |  | 18 | ? R |  |  |  | Qal | 3 | "-/E" | D | Original depth 56 feet; base of Qal 26(?) feet.
10 | N | 5 | E | 30.334 | Vincent Moore | X | 1952 |  | 120 |  | 57.9 | P | 1962-06-21 |  |  | pE | A | J/E | D | Pumped recently; top of producing zone 118 feet.
10 | N | 5 | E | 30.334a | Vincent Moore |  | 1943 |  | 120 | [6 empty] | Qal, pE | A | C/E | D | Rarely pumped; rept. evolves gas.
10 | N | 5 | E | 30.341 | G. M. Scranton | X | 1960 | [8 empty] | Qal? |  | "-/E" | D |  | "1960?" Year Completed
10 | N | 5 | E | 30.342 | Orville Fletcher | X | 1952 | 5.5 | 103 | [6 empty] | Qal | A | C/E | D, S | Potability problem.
10 | N | 6 | E | 1.421 |  |  |  | 6 | 537 |  | 490 | R |  |  |  | IPm | A | C/E | D, S | Reported can be pumped constantly; near major fault?
10 | N | 6 | E | 2.444 | Allen Wakefield |  | 1960 |  | 340 | [6 empty] | IPm | N | N | N | Hole probably doesn't reach saturated zone.
10 | N | 6 | E | 3.113 |  |  | 1941 |  | 300 | + | [5 empty] | IPm | N | N | N | Dry hole.
10 | N | 6 | E | 4.122 | Kellum |  | 1960 | 6.5 | 315 |  | 186.9 |  | 1962-04-14 |  |  | IPm | N | N | N | Dry hole.
10 | N | 6 | E | 4.124 | Neal Carpenter |  | 1963 | 6 | 180 |  | 113.8 |  | 1963-09-12 |  |  | IPm | 4 | S/E | D | Top of producing zone 147 feet.
10 | N | 6 | E | 4.144 | Joe Serna |  | 1930 | 6 | 240 |  | 159.6 |  | 1962-06-13 |  |  | IPm | A | C/W | D
10 | N | 6 | E | 4.322 |  |  |  | 60 |  |  | 80 | R | 1961-01-01 | 1 | 1 | IPm |  | N | N | Dug well.
10 | N | 6 | E | 5.121 | J. B. Hobart | X | 1960 | 4.5 | 310 | [6 empty] | Psy | A | S/E | D | Top of producing zone 280 feet.
10 | N | 6 | E | 5.343 | W. A. Christy |  |  |  | 100 |  | 30 | R |  |  |  | IPm | A | C/E | D |  | "30-40" Water level depth
10 | N | 6 | E | 5.344 | W. A. Christy |  | 1962 | 6 | 131 | M | 106.8 |  | 1962-06-13 |  |  | IPm |  | J/E | D
10 | N | 6 | E | 5.442 | John Keulen |  | 1959 |  | 467 | [6 empty] | IPm | "1-2" |  | D | Top of producing zone 401 feet.
10 | N | 6 | E | 5.443 | R. B. Johns |  | 1958 |  | 188 |  | 108.5 |  | 1961-02-16 |  |  | IPm |  | N | N | Uncased below surface pipe.
10 | N | 6 | E | 5.443a | R. B. Johns |  | 1959 |  | 317 | [6 empty] | IPm | 9 | S/E | D | Uncased; 50+/- feet from well 10.6.5.443.
10 | N | 6 | E | 6.132 |  |  |  | 100 | 110 | M | 41.3 |  | 1962-07-20 |  |  | Kmv | N | N | N | Dug hole; probably prospect pit. | "100+/-" Casing diam.
10 | N | 6 | E | 6.324 | R. M. Workhoven | X | 1962 |  | 162 |  | 120 | R | 1962-01-01 | 1 | 1 | Km | 8 | "-/E" | D | Sulfide odor from water.
10 | N | 6 | E | 6.324a | M. L. Pruit |  | 1962 |  | 175 |  | 84 | R | 1962-01-01 | 1 | 1 | Km | "6-8" | S/E | D | Sulfide odor.
10 | N | 6 | E | 6.413 |  |  | 1937 | 5 | 200 | "+M" | 158.8 |  | 1960-10-05 |  |  | ʀs |  | C/N | D | Not in use in 1960. | "1937?" Year Completed
10 | N | 6 | E | 6.414 | Al Green |  | 1962 |  | 300 |  | 230 | R | 1962-01-01 | 1 | 1 | Pys | 25+ | S/E | D | Top of producing zone 270 feet.
10 | N | 6 | E | 6.433 | Higginbotham |  | 1959 | 6 | 252 | [6 empty] | Pym? | A | S/E | D
10 | N | 6 | E | 7.124 | P. Young |  | 1957 |  | 178 |  | 143 | R |  |  |  | Pym | A | J/E | D
10 | N | 6 | E | 7.241 | P. White | X | 1951 | 4 | 148 |  | 79.6 |  | 1962-05-10 |  |  | Pa | A | S/E | Ps | Trailer park, restaurant.
10 | N | 6 | E | 7.314 | Fred Sparks |  |  | 6 | 127 |  | 71.6 |  | 1962-05-15 |  |  | Qal? | A | J/E | Com. | Restaurant, service station.
10 | N | 6 | E | 8.114 | Williamson Real Estate |  | 1960 | 4 | 350 |  | 290 | R | 1960-01-01 | 1 | 1 | IPm | 30 | S/E | Ps | Top of producing zone 319 feet.
10 | N | 6 | E | 8.121 |  |  |  | 4 |  |  | 120 | + | 1962-05-10 |  |  | IPm |  | C/E | D
10 | N | 6 | E | 8.122 | Williamson |  | 1954 |  | 272 |  | 162 | R | 1954-01-01 | 1 | 1 | IPm |  | C/E | D | Top of producing zone 196 feet.
10 | N | 6 | E | 8.212 | E. O. Cleaver |  | 1959 |  | 300 | [6 empty] | IPm | A | S/E | D
10 | N | 6 | E | 8.212a | Corbin |  | 1962 | 6 | 360 |  | 232.8 |  | 1962-05-22 |  |  | IPm | 3 | S/E | D
10 | N | 6 | E | 9.113 | R. H. Foster |  |  | 8 | 390 |  | 105.4 |  | 1962-06-13 |  |  | IPm | "1/6" | N | N | Report inadequate, domestic use.
10 | N | 6 | E | 9.114 | R. H. Foster |  |  | 6 | 168 | [6 empty] | IPm | A | C/E | D | Top of producing zone 165 feet; owner reported "swamp gas" smell from producing zone.
10 | N | 6 | E | 9.212 |  |  |  |  | 65 |  |  |  | 1962-06-13 |  |  | IPm |  |  |  | Dug well. | "Dry" Water level Depth
10 | N | 6 | E | 9.242 |  |  | 1940 |  | 360 | [6 empty] | IPm | N | N | N | Dry hole. | "1940?" Year Completed
10 | N | 6 | E | 10.331 | Community of Sedillo |  |  | 72 | 29 | M | 9.2 |  | 1961-02-14 |  |  | IPm | A | B/H | Ps | Dug well; used by few families.
10 | N | 6 | E | 10.341 | Frank Padilla |  | 1951 |  | 53 |  | 33 | R | 1951-01-01 | 1 | 1 | IPm | A | J/E | D | Dug well.
10 | N | 6 | E | 10.344 | W. Eisenhut |  | 1955 |  | 1000 |  | 52.7 |  | 1961-02-13 |  |  | IPm | 0.1 | N | N | Deepest of 6 holes drilled in radius of few hundred feet; most produced very few hundred gallons per day.
10 | N | 6 | E | 10.433 | Brickner |  | 1950 | 8 | 400 | [6 empty] | IPm |  | N | N | Filled and destroyed.
10 | N | 6 | E | 12.432 | Chester Hill |  | 1963 |  | 725 |  | 458 | R | 1963-10-04 |  |  | IPm | 7 |  | S | Top of producing zone 710 feet.
10 | N | 6 | E | 13.224 | T. O. Harrell | X | 1945 |  | 485 |  | 410 | R |  |  |  | IPm | 5 | C/E | D | Top of producing zone 485 feet; potability problem. | "1945?" Year Completed
10 | N | 6 | E | 14.422 | F. H. Lester |  | 1960 | 8 | 325 |  | 113.8 |  | 1961-02-14 |  |  | IPm | 1(+) | N |  | Produces from 120 to 210 feet; base of Qe 90 feet.
10 | N | 6 | E | 14.424 | F. H. Lester | X | 1950 | 6 | 260 | [6 empty] | IPm | A | C/E | D, S | Producing zone 140 to 240 feet; base of Qe 80 feet?; potability problem.
10 | N | 6 | E | 14.444 |  |  | 1961 |  | 350 | ? | [5 empty] | IPm | N | N | N | Dry hole; base of Qe 40 feet.
10 | N | 6 | E | 15.111 | Salvadore Jaramillo |  | 1943 |  | 250 |  | 215.6 |  | 1961-02-14 |  |  | IPm | A | C/W | D, S
10 | N | 6 | E | 15.241 | Continental Realty |  | 1961 | 4.5 | 210 |  | 50 | R | 1961-01-01 | 1 | 1 | IPm | "1/3" | N | N | Plugged at 37 feet 1962.
10 | N | 6 | E | 16.111 | Mrs. Pablo Garcia |  | 1961 | 10 | 361 | M | 338.5 |  | 1962-05-22 |  |  | IPm | 50 | N | N | Drilled as domestic well.
10 | N | 6 | E | 16.221 | Jaramillo |  | 1960 |  | 235 |  | 200 | R |  |  |  | IPm |  | N | N
10 | N | 6 | E | 16.222 |  |  |  |  | 300 | [6 empty] | IPm | N | N | N | Dry hole.
10 | N | 6 | E | 16.222a |  |  | 1959 |  | 155 | [6 empty] | IPm | A | J/E | D |  | "1959?" Year Completed
10 | N | 6 | E | 16.311 |  |  | 1961 |  | 220 | [6 empty] | IPm | N | N | N | Dry hole.
10 | N | 6 | E | 16.313 |  |  | 1961 |  | 200 | [6 empty] | IPm | N | N | N | Dry hole.
10 | N | 6 | E | 16.432 |  | X | [9 empty] | IPm |  | C/W | S
10 | N | 6 | E | 17.424 |  |  | 1961 |  | 475 | [6 empty] | IPm | N | N | N | Dry hole.
10 | N | 6 | E | 18.441 |  |  | 1961 | [8 empty] | IPm | N | N | N | Dry hole. | "1961?" Year Completed
10 | N | 6 | E | 18.442 |  |  | 1962 |  | 400 | M | 380 |  | 1962-11-07 |  |  | IPm | N | N | N | Dry hole.
10 | N | 6 | E | 21.241 |  |  |  | 60 | 42 | M | 16.3 |  | 1962-05-07 |  |  | IPm |  | J/E | D | Dug well; reported one of oldest in area.
10 | N | 6 | E | 22.131 | Presbyterian Church |  | 1961 |  | 300 |  | 222.2 |  | 1962-09-13 |  |  | IPm | N | N | N | Dry hole.
10 | N | 6 | E | 22.312 | Presbyterian Church |  | 1962 | 6 | 420 |  | 262 |  | 1962-09-13 |  |  | IPm |  | N |  | Driller reported water has bitter taste.
10 | N | 6 | E | 24.221 | Dugan Guest |  |  | 4.5 | 500 |  | 388.1 |  | 1962-06-25 |  |  | IPm |  | C/E | D
10 | N | 6 | E | 24.313 | Mike Long |  | 1960 |  | 500 |  | 132.6 |  | 1962-11-09 |  |  | IPm | N | N | N | Dry hole.
10 | N | 6 | E | 25.122 | Vester Harker |  | 1958 | 6 | 305 | [6 empty] | IPm | N | N | N | Dry hole; 3 holes in 100-feet radius.
10 | N | 6 | E | 25.122a | Vester Harker |  | 1958 |  | 420 | [6 empty] | IPm | N | N | N | Dry hole.
10 | N | 6 | E | 25.122b | Vester Harker |  | 1960 |  | 553 | [6 empty] | IPm | N | N | N | Dry hole; reported "sulfur" odor when completed.
10 | N | 6 | E | 26.132 | K. D. Stout | X |  |  | 329 |  | 142.4 |  | 1950-03-15 |  |  | IPm | A | C/E | D, S | Gas evolves from water; potability problem.
10 | N | 6 | E | 27.344 | Bob Brannan |  | 1958 | 7 | 425 |  | 142.2 |  | 1962-11-09 |  |  | IPm | A | S/E | D, S | Water reported soft.
10 | N | 6 | E | 30.424 |  |  |  | 60 | 42 | M | 38 |  | 1962-11-07 |  |  | IPm |  | N | N | Dug well.
10 | N | 6 | E | 34.221 | E. A. Brown |  | 1962 |  | 260 |  | 100 | R | 1962-01-01 | 1 | 1 | IPm | 30 | S/E | D | Water reported to be like well 10.6.27.344 (soft?).
10 | N | 6 | E | 26.333 | Leonardo Griego | [10 empty] | IPm |  |  | S
10 | N | 7 | E | 4.311 | Howard Hill |  |  | 6.5 |  |  | 339 |  | 1962-06-27 |  |  | IPm |  | C/W | S | Blowing air when visited.
10 | N | 7 | E | 6.222 | Howard Hill |  |  |  | 500 | [6 empty] | IPm | N | N | N | Dry hole.
10 | N | 7 | E | 6.322 |  |  | 1934 | 11 | 2750 |  | 150 | R |  |  |  | IPm | N | N | N | Oil test hole; driller reported 80 gal/min-local residents skeptical.
10 | N | 7 | E | 8.242 | Joe Hill |  | 1920 |  | 385 | [6 empty] | IPm | 8 |  | D | Reported makes people sick (high CO2?). | "1920?" Year Completed
10 | N | 7 | E | 9.331 |  |  |  |  | 297 | M | 289 |  | 1962-02-27 |  |  | IPm |  | N | N
10 | N | 7 | E | 9.444 | Howard Hill | X | 1957 | 6 | 340 |  | 300 | R |  |  |  | IPm | 3E | C/E | D, S
10 | N | 7 | E | 11.111 |  |  | 1942 |  | 203 |  | 148.4 |  | 1950-04-27 |  |  | Qe |  | C/W | N
10 | N | 7 | E | 12.434 | Mrs. Cecil Blackwell |  | 1920 |  | 267 |  | 227.2 |  | 1950-04-27 |  |  | Qe |  | C/W | D, S
10 | N | 7 | E | 15.333 | Hughes |  | 1920 |  | 280 | [6 empty] | IPm |  | C/E | D, S |  | "1920?" Year Completed
10 | N | 7 | E | 16.412 | Howard Hill |  |  | 6.5 | 300 |  | 216.2 |  | 1950-05-04 |  |  | IPm | A | C/W | S | Blowing air when visited in 1962.
10 | N | 7 | E | [7 empty] | 229.8 |  | 1962-06-27
10 | N | 7 | E | 17.242 | Joe Hill |  | 1962 | 6 | 440 |  | 261.6 | P | 1962-06-27 |  |  | IPm | 8 | C/W | S | Pumped recently; top of producing zone 320 feet.
10 | N | 7 | E | 18.343 | Don Hill |  |  |  | 400 |  | 345 | R |  |  |  | IPm | 15 | S/E | D, S | May be in fault zone.
10 | N | 7 | E | 20.112 | [6 empty] | 349.1 |  | 1962-06-25 |  |  | IPm | A | C/E | D
10 | N | 7 | E | 21.414 |  |  | 1963 | 8 | 460 |  | 333.7 |  | 1963-10-04 |  |  | IPm |  | S/E | D
10 | N | 7 | E | 23.212 | D. Huston | X |  | 12 | 200 |  | 151.3 |  | 1964-03-05 |  |  | Qe+ IPm? |  | T/I | Ir, O
10 | N | 7 | E | [7 empty] | 138.3 |  | 1948-08-25
10 | N | 7 | E | 23.234 | Ray Bassett |  | 1948 | 16 | 206 |  | 154.6 |  | 1962-02-09 |  |  | Qe+ IPm |  | T/- | Ir, O
10 | N | 7 | E | 24.433 | W. L. Williams | X |  |  | 148 | M | 127 | R | 1950-01-01 | 1 | 1 | Qe |  | C/E | D |  | "1950?" Water level date
10 | N | 7 | E | 25.122 | W. L. Williams |  | 1919 |  | 143 |  | 131 |  | 1950-04-25 |  |  | Qe |  | N | N |  | "1919?" Year Completed
10 | N | 7 | E | 25.211 | W. L. Williams | X | 1947 | 16 | 324 |  | 129 |  | 1964-10-30 |  |  | Qe+ IPm? | N | N | N | Irrig. well, abandoned prior to 1964; reported former yield 400 gal/min main producing zone 145 feet.
10 | N | 7 | E | [7 empty] | 123 | R | 1950-01-01 | 1 | 1
10 | N | 7 | E | 27.112 | Howard Calkins |  | 1962 |  | 335 | [6 empty] | IPm |  |  | Ps | Top of producing zone 312 feet; supplies Edgewood.
10 | N | 7 | E | 27.311 | Ray Bassett | [10 empty] | IPm |  | C/E | Ps | Supplies Edgewood.
10 | N | 7 | E | 27.311a | Ray Bassett | [10 empty] | IPm |  | C/E | Ps | Supplies Edgewood.
10 | N | 7 | E | 28.222 | W. O. Bassett |  | 1930 |  | 312 |  | 290 | R |  |  |  | IPm | A | C/E | D, Ps | Supplies school and house. | "1930?" Year Completed
10 | N | 7 | E | 28.422 | Walker and Hinkle |  |  |  | 380 | + | [5 empty] | IPm | A | C/E | D
10 | N | 7 | E | 28.424 | Walker and Hinkle |  |  |  | 281 | M | 257.7 |  | 1963-10-04 |  |  | IPm |  | N | N | Dry hole.
10 | N | 7 | E | 28.444 | Walker and Hinkle |  |  |  | 500 | + | [5 empty] | IPm | N | N | N | Reported dry hole.
10 | N | 7 | E | 30.131 | Dugan Guest | [10 empty] | IPm | N | N | N | Reported dry hole.
10 | N | 7 | E | 30.132 | Dugan Guest |  |  |  | 280 | ? | [5 empty] | IPm | N | N | N | Reported dry hole; inferred water level 380 feet.
10 | N | 7 | E | 30.321 | Paul Northam |  | 1941 | 5 | 450 | M | 412.4 |  | 1950-03-15 |  |  | IPm |  | C/W | S
10 | N | 7 | E | 33.442 | Walker and Hinkle |  | 1962 |  | 410 | [6 empty] | IPm |  | C/W | S
10 | N | 7 | E | 35.231 | J. D. Hill |  |  | 5 | 274 |  | 221.1 | P | 1950-02-24 |  |  | IPm | A | C/W | D | Pumped shortly before measured; water reported much softer than from surrounding wells..
11 | N | 5 | E | 4.322 | B. L. Abruzzo |  | 1961 | 10 | 380 | [6 empty] | IPm | N | N | N | Plugged and dry 1962 at 226 feet.
11 | N | 5 | E | 24.113 | G. E. Farwell |  | 1949 |  | 61 | [6 empty] | Qal |  | J/E | D
11 | N | 5 | E | 24.113a | V. E. Baker |  |  | 8 | 19 | M | 7.9 |  | 1962-07-18 |  |  | Qal |  | N | N | Former domestic supply.
11 | N | 5 | E | 24.114 | Cabaniss |  | 1959 | 7.5 | 185 |  | 148.2 |  | 1962-07-13 |  |  | Pa | A | S/E | D | Top of producing zone 150 feet.
11 | N | 5 | E | 24.124 | G. E. Farwell |  | 1960 | 6 | 124 |  | 65.9 |  | 1962-07-13 |  |  | Pym | 30 | S/E | D | Top of producing zone 90 feet.
11 | N | 5 | E | 24.124a | L. Clausen |  | 1960 |  | 130 | [6 empty] | Pym | 40 | S/E | D
11 | N | 5 | E | 24.132 | Grabiel | X | [9 empty] | Pys |  | C/W | D
11 | N | 5 | E | 24.133 | Hilty |  | 1954 |  | 70 | [6 empty] | Pys | 5 |  | D
11 | N | 5 | E | 24.134 | A. C. Opperman |  | 1961 | 6 | 70 |  | 34.6 |  | 1962-07-13 |  |  | Pys | 30+ | S/E | D
11 | N | 5 | E | 24.143 | Bill Tilton |  | 1948 | 6 | 55 |  | 20 | R | 1948-01-01 | 1 | 1 | Qal | A | J/E | D
11 | N | 5 | E | 24.144 | G. D. Grady | X | 1962 | 7 | 198 |  | 47.9 |  | 1962-07-03 |  |  | Pys, Qal | 84M | S/E | Com. | Water cascades from 5 1/2 feet above static level; seepage from nearby artificial fishing lake.
11 | N | 5 | E | 24.211 | V. E. Baker |  | 1963 |  | 130 | [6 empty] | Pym | 30 | S/E | D | Top of producing zone 105 feet.
11 | N | 5 | E | 24.221 | D. C. Yearout |  | 1954 | 6 | 240 |  | 182.5 |  | 1962-07-18 |  |  | Pys |  | N | N | Crooked well, replaced by well 11.5.24.211a.
11 | N | 5 | E | 24.221a | D. C. Yearout | X | 1955 |  | 260 | [6 empty] | Pys | A | C/E | D | 28+/- feet from well 11.5.24.221.
11 | N | 5 | E | 24.223 |  |  | 1958 | 4.5 | [7 empty] | Pg |  | S/E | D
11 | N | 5 | E | 24.232 | Misses Dunn and Deschner |  | 1962 | 6 | 340 |  | 180 | R | 1962-01-01 | 1 | 1 | Pg | 10 | S/E | D | Top of producing zone 320 feet.
11 | N | 5 | E | 24.234 | L. H. Harms |  | 1946 |  | 200 | [6 empty] | Pg, Ps? | A | J/E | D, S
11 | N | 5 | E | 24.314 | E. G. Broaderick |  | 1959 | 6 | 320 |  | 182 |  | 1962-07-12 |  |  | Pys | A | S/E | D | Top of producing zone 170 feet.
11 | N | 5 | E | 24.421 | Schuler | X | 1932 | 6 | 198 | M | 173.6 |  | 1962-07-18 |  |  | Ps | A | C/E | D, S
11 | N | 5 | E | 24.434 |  |  | 1960 | 6 | 150 | [6 empty] | ʀc | A | J/E | D |  | "1960?" Year Completed
11 | N | 5 | E | 24.441 | Schwartz |  | 1962 | 6 | 300 |  | 47.8 |  | 1962-07-25 |  |  | ʀc | A | N | D | Unused new well when visited.
11 | N | 5 | E | 24.441a | Schwartz |  | 1956 | 6 | 195 | [6 empty] | ʀc | A | S/E | D | Supplies 2 houses.
11 | N | 5 | E | 25.121 | M. Rossiter |  | 1955 |  | 127 |  | 57.8 |  | 1962-07-13 |  |  | ʀs | A | C/E | D | Top of producing zone 117 feet; uncased.
11 | N | 5 | E | 25.121a | M. Rossiter |  |  |  | 105 |  | 73.1 |  | 1962-07-13 |  |  | ʀc? |  | J/E | D | Uncased; emergency supply.
11 | N | 5 | E | 25.141 | Gertrude Pearl |  | 1938 |  | 110 | [6 empty] | ʀc | N | N | N | Went dry in 1954; replaced by well 11.5.25.141.
11 | N | 5 | E | 25.141a | Gertrude Pearl |  | 1954 | 7 | 252 |  | 94 |  | 1962-07-25 |  |  | ʀc | A | S/E | D | Top of producing zone 185 feet; 25+/- feet from well 11.5.25.141; supplies 3 houses.
11 | N | 5 | E | 25.144 | D. S. Dreesen |  | 1956 |  | 159 |  | 139 | R | 1956-01-01 | 1 | 1 | ʀc | A | S/E | D
11 | N | 5 | E | 25.211 | S. A. Wengerd | X |  |  | 120 | [6 empty] | ʀc |  | N | N | Hole reported plugged by blue clay that flows in at bottom.
11 | N | 5 | E | 25.221 | Grant Montgomery |  | 1949 | 6.5 | 75 |  | 50.2 |  | 1962-07-25 |  |  | ʀc | A | T/E | D | Supplies 3 houses.
11 | N | 5 | E | 25.231 | Peterson |  | 1962 | 5 | 160 |  | 66.9 |  | 1962-07-12 |  |  | ʀc |  | S/E | D
11 | N | 5 | E | 25.232 | Edwards |  | 1962 | 10 | 592 | [6 empty] | Jm, ʀc |  | N | N | Unfinished when visited; bottom 100+/- feet in ʀc.
11 | N | 5 | E | 25.241 | McGinn |  | 1943 |  | 500 | [6 empty] | Jm, ʀc? | A | C/E | D | May reach ʀc.
11 | N | 5 | E | 25.321 |  |  | 1949 |  | 140 | [6 empty] | ʀc | A |  | D | Top of producing zone 120 feet.
11 | N | 5 | E | 25.341 | Mrs. Brophy |  | 1960 | 6 | 200 | + | 98.6 |  | 1962-07-25 |  |  | ʀc | A | C/W | S
11 | N | 5 | E | 25.411 | J. Harris | X | 1960 | 6 | 230 |  | 206.8 | P | 1962-07-06 |  |  | ʀc | A | S/E | D | Pumped shortly before measured; aquifer ʀc beneath Jte.
11 | N | 5 | E | 25.414 | Travis |  | 1961 |  | 480 | [6 empty] | Jm |  |  | D
11 | N | 5 | E | 35.141 | Dr. Jenkins |  | 1960 |  | 140 | [6 empty] | Pys | A | J/E | D | Top of producing zone 117 feet; supplements spring.
11 | N | 5 | E | 35.144 | Public Well? |  |  | 48 | 55 | +/- | 7.8 |  | 1962-07-25 |  |  | Qal, ʀs | A | C/H |  | Dug well.
11 | N | 5 | E | 35.234 | Hubert Overall |  | 1961 |  | 75 |  | 55.5 |  | 1962-07-26 |  |  | ʀc | A | "-/E" | D | Top of producing zone 65 feet; supplies 2 houses.
11 | N | 5 | E | 36.111 | G. D. Bolduc | X | 1958 |  | 100 | + | [5 empty] | ʀc | A | S/E | D | Top of producing zone 70 feet.
11 | N | 5 | E | 36.313 | Myrtle Oxsheer |  | 1954 |  | 90 | [6 empty] | ʀc | A | J/E | D
11 | N | 6 | E | 7.124 |  |  |  |  | 54 | M | 32.1 |  | 1960-10-24 |  |  | Pa | A | C/W | S | Not in use when visited.
11 | N | 6 | E | 19.124 | Leo Chavez |  | 1951 | 6 | 75 |  | 25.9 |  | 1962-07-06 |  |  | Qal | A | J/E | D
11 | N | 6 | E | 19.134 | Mrs. Farmer |  |  | 7 | 135 |  | 39.6 |  | 1962-07-06 |  |  | Qal | A | S/E | D
11 | N | 6 | E | 19.142 |  |  |  |  | 102 |  | 37.2 |  | 1962-07-06 |  |  | Qal | A | J/E | D
11 | N | 6 | E | 19.311 | Underwood |  | 1959 | 6 | 135 |  | 75.8 |  | 1962-07-26 |  |  | Qal, ʀc? | A | S/E | Com. | Service station.
11 | N | 6 | E | 19.313 | W. A. Arias | X | 1942 | 6 | 136 |  | 83 |  | 1962-07-06 |  |  | Qal, ʀc | 15(-)M | S/E | Com. | Top of producing zone 103 feet; beer parlor.
11 | N | 6 | E | 19.342 | Fred Denny |  |  |  | 180 | [6 empty] | ʀc | A | S/E | D
11 | N | 6 | E | 19.413 |  |  | 1960 | 6 | 174 | M | 90 |  | 1962-07-06 |  |  | ʀc?, Jte? |  | N | N |  | "1960?" Year Completed
11 | N | 6 | E | 20.324 | Robert Mayes |  | 1958 | 8 | 150 |  | 101.6 |  | 1962-07-05 |  |  | ʀc | A | S/E | D | Supplies 4 houses. | "1958?" Year Completed
11 | N | 6 | E | 20.334 | F. D. Roberts | X | 1961 | 5 | 221 |  | 127 | +/- | 1962-07-05 |  |  | ʀc | 18 | S/E | D, S
11 | N | 6 | E | 20.413 |  |  |  |  | 110 |  | 60 | R |  |  |  | ʀc |  | C/E | D
11 | N | 6 | E | 20.443 | Independent Water Co. |  | 1954 | 8 | 110 |  | 44.6 |  | 1957-04-11 |  |  | Ps, ʀs | 600(?) | Ce/E | Ps
11 | N | 6 | E | 23.221 | Allen Wakefield |  |  |  | 165 | [6 empty] | IPm |  | N | N | Hole probably doesn't reach saturated zone.
11 | N | 6 | E | 23.332 | Marquez |  |  |  | 400 | [6 empty] | IPm |  | N | N | Filled, abandoned.
11 | N | 6 | E | 23.344 |  |  |  |  | 300 | [6 empty] | IPm |  | C/W | S,D | Top of producing zone 260 feet?; pumps dry in 1/4 hour recovers in 2 hours.
11 | N | 6 | E | 24.112 | Garcia |  | 1962 |  | 160 |  | 110 | R | 1962-01-01 | 1 | 1 | IPm | 13 | "-/E" | D, S | Top of producing zone 110 feet.
11 | N | 6 | E | 24.212 | Victor Chavez |  |  | 6 | 100 |  | 68.2 |  | 1962-07-02 |  |  | Qe, Pa | 10 | S/E | D, S | Base of Qe 80+/- feet.
11 | N | 6 | E | 24.43 | Bill Thompson |  | 1910 |  | 400 | + | [5 empty] | IPm | N | N | N | Dry hole. | "1910?" Year Completed
11 | N | 6 | E | 25.422 |  |  |  |  | 500 | [6 empty] | IPm | N | N | N | Dry hole.
11 | N | 6 | E | 26.221 | Whittet |  | 1959 |  | 470 | [6 empty] | IPm | N | N | N | Dry hole; second dry hole nearby 430 feet deep.
11 | N | 6 | E | 26.244 |  |  | 1961 |  | 600 |  | 407 | + | 1962-06-20 |  |  | IPm | N | N | N | Dry hole; plugged and dry at 407 feet. | "1961?" Year Completed
11 | N | 6 | E | 26.344 | M. W. Fox | X | 1960 |  | 208 | [6 empty] | IPm | A | "-/E" | D | Top of producing zone 174 feet.
11 | N | 6 | E | 26.444 |  |  |  |  | 300 | +/- | [5 empty] | IPm | N | N | N | Hole probably doesn't reach saturated zone.
11 | N | 6 | E | 27.322 |  |  |  |  | 90 |  |  |  | 1962-06-19 |  |  | Qal | N | B/H | N | Dug well; dried up about 1960. | "Dry" Water level Depth
11 | N | 6 | E | 27.334 |  |  |  | 36 | 65 | M |  |  | 1962-06-14 |  |  | Qal | N | N | N | Dug well; 100 feet deep, caved in 1961; contained water until caved. | "Dry" Water level Depth
11 | N | 6 | E | 27.421 |  |  |  |  | 105 | M | 104.5 |  | 1962-06-19 |  |  | IPm |  | C/W | N | Former stock and domestic well; caved?
11 | N | 6 | E | 28.123 | M. J. Garcia |  | 1956 | 6 | 125 |  | 96.2 |  | 1962-07-05 |  |  | ʀs |  | C/W | D
11 | N | 6 | E | 28.232 | R. L. Riddle | X |  | 6 | 200 | + | 173.5 |  | 1962-07-03 |  |  | Pg | 12 | C/E | D | Supplies 3 houses.
11 | N | 6 | E | 28.323 | R. L. Ault | X | 1957 | 6 | 340 |  | 222.1 |  | 1962-07-05 |  |  | ʀc | A | S/E | D, S | Downslope from nearby Todilto outcrop; potability problem.
11 | N | 6 | E | 28.341 | R. C. Dove |  | 1959 |  | 325 |  | 228.5 |  | 1962-07-05 |  |  | ʀc | A | S/E | D, S | Top of producing zone 250 feet.
11 | N | 6 | E | 28.412 | Underwood |  | 1959 | 6 | 65 | [6 empty] | ʀs | A | S/E | D | Top of producing zone 45 feet.
11 | N | 6 | E | 28.414 | Nugent |  |  | 6 | 83 | M | 37.2 |  | 1962-07-03 |  |  | ʀc |  | N | N
11 | N | 6 | E | 28.431 | Rael |  |  |  | 80 |  | 33.2 |  | 1962-07-03 |  |  | ʀc, Qal | A | C/H | S
11 | N | 6 | E | 28.443 | Fidel Garcia |  | 1959 | 7 | 250 |  | 199.7 |  | 1962-07-03 |  |  | Pa? | A | C/E | D, S | Produces from fault zone.
11 | N | 6 | E | 29.111 | G. Thompson |  | 1957 |  | 170 | [6 empty] | ʀc | 30 | "-/E" | D | Top of producing zone 110 feet.
11 | N | 6 | E | 29.113 | T. H. Proctor |  | 1959 |  | 230 | +/- | 105.9 |  | 1962-07-05 |  |  | ʀc | A | S/E | D | Top of producing zone 160 feet.
11 | N | 6 | E | 29.131 | Duran |  | 1962 | 6 | 139 |  | 56.1 |  | 1962-07-05 |  |  | ʀc, Jte? | A | S/E | D
11 | N | 6 | E | 29.214 | Kitchel |  | 1961 | 6 | 155 |  | 96.8 |  | 1962-07-05 |  |  | Jte?, ʀc? | A | S/E | D
11 | N | 6 | E | 33.222 |  |  |  | 8 | 232 | M |  |  | 1962-07-03 |  |  | IPm | N | N | N | Dry hole. | "Dry" Water level Depth
11 | N | 6 | E | 33.324 | L. P. Upton |  | 1962 | 6 | 287 |  | 198 |  | 1963-09-12 |  |  | IPm | 3 | S/E | D
11 | N | 6 | E | 33.342 | Wagner |  |  |  | 300 | [6 empty] | IPm | 15 | "-/E" | D
11 | N | 6 | E | 33.442 | Fletcher |  | 1960 |  | 172 |  | 140 | R | 1960-01-01 | 1 | 1 | IPm | 8 |  | D | After visited reported caved; replaced 300 feet well.
11 | N | 6 | E | 34.122 | Kendall |  | 1962 | [8 empty] | IPm |  | S/E | D
11 | N | 6 | E | 34.211 | H. O. Pierson |  | 1962 |  | 220 | [6 empty] | IPm | A | S/E | D
11 | N | 6 | E | 34.214 | H. O. Pierson |  | 1961 |  | 332 |  | 215 |  | 1962-06-19 |  |  | IPm | I | C/E | D
11 | N | 6 | E | 34.244 | Kelsey |  | 1961 |  | 435 | M |  |  | 1962-06-19 |  |  | IPm | N | N | N | Dry hole. | "Dry" Water level Depth
11 | N | 6 | E | 34.412 | McGill |  | 1958 |  | 400 |  | 313.2 |  | 1962-06-14 |  |  | IPm | N | N | N | Dry hole.
11 | N | 6 | E | 35.111 |  |  | 1960 | 5.5 | 234 | "+/-M" | 226.6 |  | 1962-06-19 |  |  | IPm |  | S/E | N |  | "1960?" Year Completed
11 | N | 6 | E | 35.132 | C. B. Taft |  |  |  | 298 | [6 empty] | IPm | N | N | N | Hole probably doesn't reach saturated zone.
11 | N | 6 | E | 35.132a |  |  |  | 40 | 97 | M | 71.4 |  | 1962-06-19 |  |  | IPm |  | B/H |  | Dug well; finished in perched water.
11 | N | 6 | E | 35.141 | C. B. Taft |  | 1962 |  | 310 |  | 180 | R | 1962-01-01 | 1 | 1 | IPm | 6(-) | "-/E" | D | Supplies 2 houses.
11 | N | 6 | E | 36.213 | J. E. Crosby |  |  |  | 305 | [6 empty] | IPm | N | N | N | Hole doesn't reach saturated zone.
11 | N | 6 | E | 36.23 | J. E. Crosby |  | 1960 |  | 315 | [6 empty] | IPm | N | N | N | Hole doesn't reach saturated zone.
11 | N | 6 | E | 36.231 | J. E. Crosby | X | 1964 |  | 1004 |  | 735 | P | 1964-01-01 | 1 | 1 | IPm | 1 1/2 M | S/E | D | Pumped shortly before measured?; potability problem.
11 | N | 6 | E | 26.333 | Vernon |  | 1945 |  | 920 |  | 712.5 | P | 1962-06-27 |  |  | IPm | 3(+) | C/E | D | Pumped recently; reported breaks suction at 720 feet after 3 hours pumping.
11 | N | 6 | E | [7 empty] | 610 | R | 1962-01-01 | 1 | 1
11 | N | 7 | E | 2.222 | Simmons Bros. |  | 1918 | 6 | 500 | [6 empty] | Pa? | N | N | N | Replaced by well 11.7.2.222b. | "1918?" Year Completed
11 | N | 7 | E | 2.222a | Simmons Bros. |  | 1945 |  | 500 | [6 empty] | Pa? | N | N | N | Dry hole.
11 | N | 7 | E | 2.222b | Simmons Bros. |  | 1959 |  | 500 | [6 empty] | Pa? | "3/4" | "-/E" | D, S | Geologist reported to owner red beds below 90 feet; "granite" at bottom; base of Qe 90 feet.
11 | N | 7 | E | 11.424 |  |  |  |  | 300 |  | 200 | "+R" |  |  |  | Pa? |  |  |  | Base of Qe 200 feet.
11 | N | 7 | E | 13.122 | Simmons Bros. |  | 1919 |  | 400 | [6 empty] | Pa? | 10 | C/W | S | Owner reported red beds in lower part of hole. | "1919?" Year Completed
11 | N | 7 | E | 14.112 |  |  |  | 6 |  |  | 217.5 |  | 1964-10-30 |  |  | Pa?
11 | N | 7 | E | 14.121 |  |  |  | 6 |  |  | 206.5 | P | 1964-10-30 |  |  | Pa? |  |  |  | Pumping slowly when measured.
11 | N | 7 | E | 15.333 |  |  |  |  | 200 | [6 empty] | Qe, Pa? |  | C/W | S
11 | N | 7 | E | 19.213 | Tom Horton |  |  |  | 255 | +/- | 156.7 |  | 1962-07-02 |  |  | Qe, Pa?
11 | N | 7 | E | 20.112 | Tom Horton |  |  |  | 376 | [6 empty] | Pa | 1(-) | S/E | D, S
11 | N | 7 | E | 20.214 | Tom Horton |  |  |  | 103 | M |  |  | 1962-07-02 |  |  | Qe | N | N | N | Dug well. | "Dry" Water level Depth
11 | N | 7 | E | 21.144 | Chavez |  |  | 48 |  |  | 78.6 |  | 1962-07-02 |  |  | Qe |  | C/W |  | Dug well.
11 | N | 7 | E | 21.322 | Fernando Nieto | X |  |  | 160 |  | 108 |  | 1962-07-02 |  |  | Qe | A | C/W | D, S | Dug well.
11 | N | 7 | E | 24.121 |  |  |  |  | 180 | M |  |  | 1964-10-30 |  |  | Qe | N | N | N | Reported to hve been good well; later caved at 180 feet. | "Dry" Water level Depth
11 | N | 7 | E | 29.33 | Tom Horton |  | 1938 |  | 500 | [6 empty] | IPm | N | N | N | Dry hole. | "1938?" Year Completed
11 | N | 7 | E | 29.444 | Tom Horton |  |  |  | 400 | + | [5 empty] | IPm | N | N | N | Dry hole.
11 | N | 7 | E | 31.434 | Howard Hill |  |  |  | 166 | M | 150 |  | 1962-06-27 |  |  | IPm |  | N | N | Stock water now piped 3 miles away; other dry holes several hundred feet deep.
11 | N | 7 | E | 33.44 | W. Mooney |  |  | 6 | 311 |  | 210.7 |  | 1962-06-27 |  |  | IPm, Qe? | A | C/W | S
11 | N | 7 | E | 34.111 | W. Mooney |  |  | 6 | 317 | [6 empty] | IPm, Qe? | A | C/W | D, S
12 | N | 4 | E | 1.223 | Shannon Jackson |  |  | 6 | 124 |  | 84.3 |  | 1962-08-09 |  |  | Km | A | S/E |  | Potability problem.
12 | N | 4 | E | 35.234 | Mrs. Venegas | X |  | 5 | 172 | M | 73.8 |  | 1956-03-13 |  |  | pE |  | C/W | N
12 | N | 5 | E | 3.341 |  |  |  | 6 |  |  | 32.3 | P | 1962-11-01 |  |  | Qal | A | C/W | N | Pumping 1.3 gal/min when measured.
12 | N | 5 | E | 4.221 | F. M. Calkins |  | 1947 |  | 86 |  | 0 | ?R | 1962-08-16 |  |  | IPm, Pa | A |  | Ir. | Reported flows annually April to June; on Abo outcrop; fault nearby. | "0 to ?R" Water level depth
12 | N | 5 | E | 4.221a | F. M. Calkins |  | 1961 |  | 100 |  | 6 | R | 1962-08-16 |  |  | IPm | A | "-/E" | D | Top of producing zone 86 feet; flows annually approx. April to June.
12 | N | 5 | E | 4.222 | L. D. Danfelser | X | 1961 |  | 77 |  | 0 | 14R | 1962-08-16 |  |  | IPm, Pa | A | J/E | D | Reported water level fluctuates from 14+/- feet in March to artesian flow in May. | "0 to 14R" Water level depth
12 | N | 5 | E | 4.442 | R. S. Roller |  | 1961 | 6 | 300 | +/- | 162.5 |  | 1962-11-01 |  |  | IPm | A | S/E | D
12 | N | 5 | E | 6.131 | C. H. Goller | X | 1957 | 7 | 120 |  | 54.9 |  | 1962-08-08 |  |  | Qal, Kd? | A | J/E | D | Potability problem.
12 | N | 5 | E | 6.223 | Garcia |  |  |  | 22 |  | 10 |  | 1962-08-14 |  |  | Km? |  | N |  | Tunneled into base of hlll; water quality reported poor.
12 | N | 5 | E | 6.224 | Folkins |  | 1957 |  | 143 |  | 6.2 |  | 1962-08-14 |  |  | Kd? | A | J/E | D | Reported flowed for 3 years; quality reported poor.
12 | N | 5 | E | 9.222 |  |  | 1962 |  | 155 | M | 85.8 |  | 1962-11-01 |  |  | IPm |  | C/E | D | New, unused when visited. | "1962?" Year Completed
12 | N | 5 | E | 9.242 | Otto Paulson |  | 1959 | 6 | 150 |  | 99.1 |  | 1962-08-16 |  |  | IPm | A | J/E | D |  | "1959?" Year Completed
12 | N | 5 | E | 9.244 | Paulson | X | 1962 | 6 | 159 |  | 120.6 |  | 1962-08-16 |  |  | IPm | A | S/E | D
12 | N | 5 | E | 24.43 | Koch Bros. |  |  |  | 417 | [6 empty] | IPm |  | N |  | Top of producing zone 332 feet.
12 | N | 5 | E | 25.12 | Koch Bros. |  |  |  | 450 | [6 empty] | IPm | 5 | C/- | S | Top of producing zone 378 feet.
12 | N | 5 | E | 25.311 | Koch Bros. |  | 1958 |  | 665 | [6 empty] | IPm |  | N | N | Dry hole.
12 | N | 5 | E | 25.331 | Koch Bros. | X |  |  | 285 | [6 empty] | IPm | 1(-) |  | S | Top of producing zone 198 feet.
12 | N | 5 | E | 26.423 |  |  |  |  | 485 | [6 empty] | IPm |  | N | N | Dry hole.
12 | N | 5 | E | 26.432 |  |  |  |  | 680 | [6 empty] | IPm |  | N | N | Dry hole.
12 | N | 5 | E | 36.334 |  |  |  |  | 100 | [6 empty] | IPm | 60 | "-/E" | Ps | To supply La Madera.
12 | N | 7 | E | 34.214 | G. M. Simmons |  |  |  | 135 |  | 40.4 |  | 1964-10-30 |  |  | Qe | 25-50 | "-/E" | D | Water level measured at nearby well.
13 | N | 4 | E | 36.133 | C. R. Sebastian |  | 1960 |  | 200 | + | [5 empty] | QTs | 15E | S/E | D | Use includes supply for swimming pool.
13 | N | 4 | E | 36.234 | N. J. Eich | X | 1960 | 6 | 230 | [6 empty] | Kmv | A | S/E | D | Pump set at 210 feet; potability probem.
13 | N | 4 | E | 36.322 | J. Oreb |  | 1959 |  | 260 |  | 30 | 40R |  |  |  | Qal, Kmv | 1/8+/- | S/E | D | Public Health Service analysis: dissolved solids; 1,369 mg/L SO4; 300 mg/L; yield inadequate. | "30-40R" Water level depth
13 | N | 4 | E | 36.323 | Mrs. E. McKinnon |  | 1959 | 6 | 102 |  | 25.5 |  | 1962-08-08 |  |  | Qal |  | C/H |  | 25+/- feet of Qal on Kmv; water quality reported good.
13 | N | 4 | E | 36.334 | A. W. Litka | X | 1962 | 6 | 322 |  | 276.6 |  | 1962-08-09 |  |  | QTs | 12 | S/E | D
13 | N | 4 | E | 36.432 | U. C. Luft |  | 1961 |  | 80 | +/- | 40 | "+/- R" |  |  |  | Qal |  | S/E | D | Water quality reported good.
13 | N | 5 | E | 15.223 | L. M. Melick |  | 1960 |  | 150 | [6 empty] | QTs? | 1/2+/- | "-/E" | D
13 | N | 5 | E | 22.32 |  |  | 1963 |  | 230 |  | 130 | R |  |  |  | QTs | 20 | "-/-" | D
13 | N | 5 | E | 31.341 | Jack Ladd |  | 1940 | 6 | 165 |  | 138.6 |  | 1962-08-15 |  |  | Kmv | 1 | S/E | D | Water quuality reported very poor, garden use only.
13 | N | 5 | E | 31.342 | Jack Ladd |  |  |  | 135 | [6 empty] | Kmv |  | "-/E" | D | Water quuality reported very poor, garden use only.
13 | N | 5 | E | 32.211 | Texas-New Mexico Pipeline Co. |  | 1959 | 10 | 167 |  | 38.8 |  | 1962-08-15 |  |  | Kmv | 7 |  | N | Cooling water for compressor station; replaced by nearby well.
13 | N | 5 | E | 32.232 | D. Berry |  | 1962 | 6 | 100 |  | 30 | R | 1961-01-01 | 1 | 1 | Qal |  | J/E | D | Estimate 30+ feet Qal on Km; water reported potable, hard. | "6?" Casing diam.
13 | N | 5 | E | 32.323 | G. O. Bridgeman | X | 1958 | 6 | 100 |  | 45.9 |  | 1962-08-14 |  |  | Jm | 55 | J/E | D | Potability problem.
13 | N | 5 | E | 32.334 | Orlando Garcia |  | 1954 | 72 |  |  | 37.6 |  | 1962-08-14 |  |  | Qal |  | N | N | Dug well; former domestic supply.
13 | N | 5 | E | 32.334a | Orlando Garcia | X | 1956 |  | 89 |  | 39.4 |  | 1962-08-14 |  |  | Qal, ʀc? | 15(-) | J/E | D
13 | N | 5 | E | 32.442 | R. R. Edwards |  |  |  | 40 |  | 17.1 |  | 1962-08-16 |  |  | Qal |  | J/E | D | For garden and swimming pool.
13 | N | 5 | E | 33.33 | B. T. Thomas | X | 1954 | 6 | 130 | [6 empty] | Qal?
13 | N | 5 | E | 34.311 | B. Moore |  |  |  | 63 | M | 46.9 |  | 1962-11-01 |  |  | Qal |  | N | N